# Assessment Requirements for CPCCPB3017 Rectify faults in drywall applications

Release: 2

Assessment Requirements for CPCCPB3017 Rectify faults in drywall applications

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCPB3017A Rectify faults in plaster applications. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must satisfy all of the elements, performance criteria and foundation skills of this unit by determining the causes and rectifying a minimum of two examples of each the following faults in drywall applications:

faults in installation of drywall

product faults

faults in sanding and setting.

All work must be performed to the standard required in the workplace and must comply with laws and regulations, Australian Standards, work health and safety (WHS) and environmental requirements, manufacturers’ specifications, workplace requirements, drawings and specifications.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

compliance requirements of the Australian Standards relevant to rectifying faults in drywall applications

quality policies and standards for rectifying faults in drywall applications

safety requirements for rectifying faults in drywall applications, including personal protective equipment (PPE), job safety analyses, safe work method statements and safety data sheets

identification of faults in materials, installation and finish quality

manufacturers’ product installation procedures and specifications for rectifying faults in plaster applications

fault types, causes and rectification methods, including:

fault types

board fracture

bullnose

positive and negative edge angle (chisel edge)

damaged edges

end peel

hinge drywall

hollow joints

over-built joints

ink bleed through

joint tape bubbles

parrot beak

pinholes

scuffing

shoulders

wavy drywall.

fault causes

external causes

inappropriate selection of work methods or level of finish

materials or material selection faults

poor workmanship

types and uses of rectification materials

materials storage and environmentally friendly waste management

plans, drawings and specifications for rectifying faults in drywall applications

techniques and processes for rectifying faults in drywall applications

processes for the calculation of material requirements for rectifying faults in drywall applications

types of tools and equipment for rectifying faults in drywall applications.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed:

in the workplace or a close simulation of the workplace environment, provided that simulated or project-based assessment techniques replicate construction workplace conditions, materials, activities, responsibilities and procedures

using realistic tasks or simulated tasks, relevant specifications and work instructions, standard work practices, safety requirements and environmental constraints.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad