# Assessment Requirements for CPCCPB3019 Inspect equipment for serviceability

Release: 3

Assessment Requirements for CPCCPB3019 Inspect equipment for serviceability

# Modification History

| Release 3 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Knowledge Evidence formatted for clarity. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCPB3019A Inspect equipment for serviceability. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must satisfy all of the elements, performance criteria and foundation skills of this unit by demonstrating the ability to:

select and use appropriate equipment and work methods

identify faults in equipment

apply knowledge of industry products to identify:

manufacturers’ instructions for equipment

wear that may require maintenance in the future

compatible components for running repairs

follow work instructions, operating procedures and inspection practices to:

identify damage to goods, equipment or products

maintain workplace records in relation to materials, plant and equipment use.

All work must comply with laws and regulations, the National Construction Code (NCC), Australian Standards, work health and safety (WHS) and environmental requirements, manufacturers’ specifications, and workplace requirements.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

compliance requirements of the National Construction Code and Australian Standards for inspecting equipment for serviceability

workplace quality policies and standards for inspecting equipment for serviceability

safety requirements for inspecting equipment for serviceability

environmental requirements for inspecting equipment for serviceability

application of product and process knowledge to identify problems and predict consequences

identifying potential for health and safety risks from workplace information and labels

identifying the purpose of tags and logs of use for equipment

implications for work output, safe operations and quality for instructions to be followed

job safety analysis (JSA) and safe work method statements

manufacturers’ inspection procedures and specifications for the equipment:

pre-operational functional safety check procedures and manufacturer specifications for:

damage

leaks

obstructions that may limit operational capability

worn requirements

names and functions of equipment, components and materials:

materials:

beads

cement render

fibre cement sheets

finishing materials

plaster compounds

plasterboard

plasterglass sheets

water resistant plasterboard

tools and equipment:

broad knives

brooms

drills

drop saws

hand and power drills

hand saws

keyhole saws

ladders

measuring tapes and rules

paintbrushes

plasterboard hammers

plasterer’s trowels

scaffold

screw guns

sheet lifters

T squares

taping knives

trestles and planks

operating principles and working components of equipment used

quality requirements:

Australian standards

internal company quality policy and standards

manufacturer specifications

workplace operations and procedures

requirements to plan own work:

assessment of conditions and hazards

determination of work requirements and safety plans and policies

equipment defect identification

information:

diagrams or sketches

instructions issued by authorised organisational or external personnel

manufacturer specifications and instructions, where specified

material safety data sheets (MSDS)

memos

regulatory and legislative requirements pertaining to equipment for serviceability

relevant Australian standards

safe work procedures relating to equipment for serviceability

signage

verbal, written and graphical instructions

work bulletins

work schedules, plans and specifications:

work site inspection

safely use equipment, shift and handle products and materials:

emergency procedures, including extinguishing fires, organisational first aid requirements and evacuation

hazard control

hazardous materials and substances

organisational first aid

PPE prescribed under legislation, regulations and workplace policies and practices

safe operating procedures, including the conduct of operational risk assessment and treatments associated with:

concealed services (water, power and gas)

lighting

traffic control

restricted access barriers

trip hazards

work site visitors and the public

working at heights

working in confined spaces

working in proximity to others

use of firefighting equipment

use of tools and equipment

workplace environmental requirements and safety:

clean-up management

dust and noise

vibration

waste management.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed:

in the workplace or a close simulation of the workplace environment, provided that simulated or project-based assessment techniques replicate construction workplace conditions, materials, activities, responsibilities and procedures

using realistic tasks or simulated tasks, relevant specifications and work instructions, standard work practices, safety requirements and environmental constraints.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad