# CPCCPB3019 Inspect equipment for serviceability

Release: 3

CPCCPB3019 Inspect equipment for serviceability

# Modification History

| Release 3 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Knowledge Evidence formatted for clarity. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCPB3019A Inspect equipment for serviceability. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit of competency specifies the outcomes required for equipment users to inspect and report on the safety and operational effectiveness of equipment, meeting all relevant requirements of the National Construction Code (NCC), Australian Standards, work health and safety (WHS), and Commonwealth and state or territory legislation.

A person working at this level would be expected to take responsibility for organising and completing tasks assigned to them without close supervision.

Completion of the general construction induction training program specified by the model Code of Practice for Construction Work is required for any person who is to carry out construction work.  Achievement of CPCWHS1001 Prepare to work safely in the construction industry meets this requirement.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

CPCCWHS2001 Apply WHS requirements, policies and procedures in the construction industry.

# Unit Sector

Plasterboard

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Plan and prepare. | 1.1 | Read and interpret work instructions and plan work. |
|  |  | 1.2 | Plan all work to comply with laws and regulations, the National Construction Code (NCC), Australian Standards, work health and safety (WHS) and environmental requirements, manufacturers’ specifications, and workplace requirements. |
|  |  | 1.3 | Select and use related personal protective equipment (PPE) for each stage of the task. |
|  |  | 1.4 | Inspect work site, assess hazards and apply risk controls, including required signage and barricades. |
|  |  | 1.5 | Select materials required for task, calculate quantities, handle safely and prepare and position ready for use. |
| 2 | Inspect equipment. | 2.1 | Select tools and equipment, check for serviceability and rectify or report any faults. |
|  |  | 2.2 | Inspect equipment prior to transport and set up. |
|  |  | 2.3 | Read and comply with manufacturer’s instructions for equipment. |
|  |  | 2.4 | Check warning systems for operational effectiveness. |
| 3 | Identify and assess impact of faults on work requirements. | 3.1 | Identify faults and assess potential effect of the fault on operation of equipment for the required work. |
|  |  | 3.2 | Assess equipment wear, identifying likely requirements for future repair. |
|  |  | 3.3 | Report faults that may affect the safe operation of the equipment to appropriate personnel for rectification, and tag and set aside equipment for repair. |
|  |  | 3.4 | Make accurate reports of the results of the inspection and testing. |
|  |  | 3.5 | Ensure records are clear, unambiguous and concise with clear reference made to items that may require replacement or repair in the future. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and equivalent to CPCCPB3019A Inspect equipment for serviceability

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad