# CPCCPB3021 Install and fix residential acoustic plaster products

Release: 2

CPCCPB3021 Install and fix residential acoustic plaster products

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCPB3021A Install and fix residential acoustic plaster products. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit of competency specifies the skills and knowledge required to install residential acoustic plaster systems.

A person working at this level would be expected to take responsibility for organising and completing tasks assigned to them without close supervision.

Completion of the general construction induction training program specified by the model Code of Practice for Construction Work is required for any person who is to carry out construction work.  Achievement of CPCWHS1001 Prepare to work safely in the construction industry meets this requirement.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

CPCCWHS2001 Apply WHS requirements, policies and procedures in the construction industry.

# Unit Sector

Plasterboard

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Plan and prepare. | 1.1 | Read and interpret work instructions and plan sequence of work. |
|  |  | 1.2 | Plan all work to comply with laws and regulations, the National Construction Code (NCC), Australian Standards, work health and safety (WHS) and environmental requirements, manufacturers’ specifications, and workplace requirements. |
|  |  | 1.3 | Select and use personal protective equipment (PPE) for each stage of the task. |
|  |  | 1.4 | Inspect work site, assess hazards and apply risk controls, including required signage and barricades. |
|  |  | 1.5 | Select materials required for task, including fasteners, sealers and penetration seals compatible with system performance requirements, calculate quantities, handle safely and prepare and position ready for use. |
|  |  | 1.6 | Select tools and equipment, check for serviceability and report any faults that may affect the safe operation of the equipment, tag equipment and set aside. |
| 2 | Fix acoustic system. | 2.1 | Install acoustic systems to manufacturers’ specifications. |
|  |  | 2.2 | Caulk edges of board. |
|  |  | 2.3 | Check completed work to confirm that it meets installation specifications and requirements. |
| 3 | Clean up. | 3.1 | Clear work area and dispose of, reuse or recycle materials. |
|  |  | 3.2 | Clean, check, maintain and store tools and equipment in accordance with manufacturers’ specifications. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and equivalent to CPCCPB3021A Install and fix residential acoustic plaster products

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCCPB3021 Install and fix residential acoustic plaster products

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCPB3021A Install and fix residential acoustic plaster products. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must satisfy all of the elements, performance criteria and foundation skills of this unit by installing a minimum 15 square metres of an acoustic plaster system to walls and ceiling.

All work must be performed to the standard required in the workplace and must comply with the National Construction Code, Commonwealth and state/territory laws and regulations, Australian Standards, work health and safety (WHS) and environmental requirements, manufacturers’ specifications, and workplace requirements.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

compliance requirements of the National Construction Code and Australian Standards for installing and fixing residential acoustic plaster products

quality policies and standards for installing and fixing residential acoustic plaster products

safety requirements for installing and fixing residential acoustic plaster products, including personal protective equipment (PPE), job safety analyses, safe work method statements and safety data sheets

environmental requirements for installing and fixing residential acoustic plaster products

techniques for selecting materials required for task, including fasteners, sealers and penetration seals compatible with system performance requirements

manufacturers’ specifications for installing and fixing residential acoustic plaster products

types and uses of tools and equipment for installing and fixing residential acoustic plaster products.

# Assessment Conditions

This unit must be assessed:

in the workplace or a close simulation of the workplace environment, provided that simulated or project-based assessment techniques replicate construction workplace conditions, materials, activities, responsibilities and procedures

using realistic tasks or simulated tasks, relevant specifications and work instructions, standard work practices, safety requirements and environmental constraints.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad