# Assessment Requirements for CPCCPB3022 Use mechanical jointing equipment to finish joints

Release: 2

Assessment Requirements for CPCCPB3022 Use mechanical jointing equipment to finish joints

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCPB3022A Use mechanical jointing equipment to finish joints. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must satisfy all of the elements, performance criteria and foundation skills of this unit by using mechanical filling and taping equipment to finish a minimum of 3 metres of each of the following:

smooth and even crowned joints

internal angles

external angles

ceiling joints

square set joints.

All work must be performed to the standard required in the workplace and must comply with Commonwealth and state/territory laws and regulations, Australian Standards, work health and safety (WHS) and environmental requirements, manufacturers’ specifications, and workplace requirements.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

compliance requirements of Australian Standards for using mechanical equipment to finish joints

quality policies and standards for using mechanical equipment to finish joints

safety requirements for using mechanical equipment to finish joints, including personal protective equipment (PPE), job safety analyses, safe work method statements and safety data sheets

environmental requirements for using mechanical equipment to finish joints

processes and techniques for using mechanical equipment to finish joints

manufacturers’ specifications for equipment and materials

types of mechanical tools and equipment for finishing joints.

# Assessment Conditions

This unit must be assessed:

in the workplace or a close simulation of the workplace environment, provided that simulated or project-based assessment techniques replicate construction workplace conditions, materials, activities, responsibilities and procedures

using realistic tasks or simulated tasks, relevant specifications and work instructions, standard work practices, safety requirements and environmental constraints.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad