# Assessment Requirements for CPCCPD2013 Remove and replace doors and door and window components

Release: 4

Assessment Requirements for CPCCPD2013 Remove and replace doors and door and window components

# Modification History

| Release 4 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 3 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.4. Correction to Training Package title in the Modification History from CPC Property Services to CPC Construction, Plumbing and Services Training Package in Release 1 and 2. |
| Release 2 | This version first released with CPC Property Services Training Package Release 5.1. Correction to Elements and Performance Criteria. Removal of duplicate Performance Criteria 4.5. |
| Release 1 | This version first released with CPC Property Services Training Package Release 5.0. Supersedes and is equivalent to CPCCPD2013A Remove and replace doors and door and window components. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by safely and effectively removing and replacing as a minimum:

one door with an independent screen

furniture from two different door types:

closers

handles

hinges

latches

locks

safety chains

screens

furniture from two different window types with at least one having independent screens:

brackets

catches

handles

locks

screens

stays.

All work must be performed to the standard required in the workplace and must meet the requirements of work health and safety (WHS), Commonwealth and state or territory legislation, manufacturers’ specifications, and environmental plans and obligations.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

safety requirements relevant to removing and replacing doors and door and window components

environmental requirements relevant to removing and replacing doors and door and window components

correct and safe procedures for removal and replacement of glass

safe handing techniques for glass

door and window furniture removal and replacement techniques for:

door furniture:

closers

handles

hinges

latches

locks

safety chains

screens

window furniture:

brackets

catches

handles

locks

screens

stays

painting and decorating and basic carpentry terminology relevant to removing and replacing doors and door and window components

quality requirements relevant to removing and replacing doors and door and window components

types, uses and limitations of tools used in the removal and replacement of door and window furniture.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed:

in the workplace or a close simulation of the workplace environment, provided that simulated or project-based assessment techniques replicate construction workplace conditions, materials, activities, responsibilities and procedures

using realistic tasks or simulated tasks, relevant specifications and work instructions, standard work practices, safety requirements and environmental constraints.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad