# Assessment Requirements for CPCCPD3030 Apply protective paint coating systems

Release: 4

Assessment Requirements for CPCCPD3030 Apply protective paint coating systems

# Modification History

| Release 4 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 3 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.5. Change to Performance Evidence. |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.4. Correction to Training Package title in the Modification History from CPC Property Services to CPC Construction, Plumbing and Services Training Package. |
| Release 1 | This version first released with CPC Property Services Training Package Release 5.0. Supersedes and is equivalent to CPCCPD3030B Apply protective paint coating systems. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by preparing and applying two different protective coatings, at least one of which is a two-pack system:

water-based protective paint coating systems to a concrete surface of at least one square metre

solvent-based protective paint coating systems to a metal surface of at least one square metre.

All work must be performed to the standard required in the workplace and must meet the requirements of work health and safety (WHS), Commonwealth and state or territory legislation, manufacturers’ specifications, and environmental plans and obligations.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

safety requirements relevant to applying protective paint coating systems

environmental requirements relevant to applying protective paint coating systems

Australian Paint Approval Scheme (APAS) classifications

hazards associated with solvent vapour, chemical fumes, gases, harmful dusts, metal chips, abrasive grit and asbestos fibres

impact of atmospheric conditions and high traffic on new and existing structures and coatings

plans, drawings and specifications relevant to applying protective paint coating systems

processes for the calculation of material requirements relevant to applying protective paint coating systems

surface preparation methods and tools relevant to applying protective paint coating systems

protective surface coating products and their uses and limitations:

polyurethane primer (two pack)

epoxy primer (two pack)

high build epoxy

high build chlorinated rubber

2-pak polyurethane

2-pak surface tolerant epoxy

•	micaceous iron oxide

•	zinc phosphate primer

modified acrylic epoxies

applications of protective paint coating systems, including:

corrosion control

decoration

hygiene and sanitation protection

trafficable areas

dry and wet testing techniques

types of commonly used protective paint coatings, their uses and limitations

quality requirements relevant to applying protective paint coating systems

materials storage and environmentally sustainable waste management, including correct disposal of water-based, latex-based and solvent-based paints

solid waste and paint sludge disposal techniques and relevant legislation, including Environmental Protection Authority (EPA) and local council regulations

workplace and equipment safety requirements.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed:

in the workplace or a close simulation of the workplace environment, provided that simulated or project-based assessment techniques replicate construction workplace conditions, materials, activities, responsibilities and procedures

using realistic tasks or simulated tasks, relevant specifications and work instructions, standard work practices, safety requirements and environmental constraints.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad