# CPCCPD3032 Apply advanced wall coverings

Release: 3

CPCCPD3032 Apply advanced wall coverings

# Modification History

| Release 3 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.4. Correction to Training Package title in the Modification History from CPC Property Services to CPC Construction, Plumbing and Services Training Package. |
| Release 1 | This version first released with CPC Property Services Training Package Release 5.0. Supersedes and is equivalent to CPCCPD3032A Apply advanced wallpaper techniques. Title change. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit of competency specifies the skills and knowledge required to apply wall coverings to walls and ceilings to form a protective and decorative finish.

A person who has achieved this unit of competency would be expected to take responsibility for organising and completing these tasks with a high degree of self-direction.

Completion of the general construction induction training program specified by the model Code of Practice for Construction Work is required for any person who is to carry out construction work.  Achievement of CPCWHS1001 Prepare to work safely in the construction industry meets this requirement.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

| CPCCWHS2001 | Apply WHS requirements, policies and procedures in the construction industry |
| --- | --- |

# Unit Sector

Painting and Decorating

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Plan and prepare. | 1.1 | Review work instructions for details of requirements to apply wall coverings. |
|  |  | 1.2 | Plan all work to meet relevant requirements of work health and safety (WHS), Commonwealth and state or territory legislation, environmental plans and obligations, manufacturers’ specifications, and workplace requirements. |
|  |  | 1.3 | Select and fit personal protective equipment (PPE) as required for each task. |
|  |  | 1.4 | Inspect work site, assess hazards and apply risk controls, including required signage and barricades. |
|  |  | 1.5 | Identify the types and quantities of materials required for the task and safely prepare and position ready for use. |
|  |  | 1.6 | Select tools and equipment, check for serviceability and report any faults. |
| 2 | Prepare to apply wall coverings. | 2.1 | Prepare surfaces for wall coverings by removing existing coating and loose debris, repairing, stopping and filling imperfections, and sanding to smooth finish. |
|  |  | 2.2 | Prepare and document plan for hanging wall coverings. |
|  |  | 2.3 | Check materials for conformity to dye lot, batch number and other shading requirements in accordance with client requirements. |
|  |  | 2.4 | Prepare adhesives in accordance with requirements. |
|  |  | 2.5 | Apply size coating to work area. |
| 3 | Apply wall coverings. | 3.1 | Apply wall coverings to work area ensuring an even surface, seams are butted/double-cut, paper is plumb, and pattern is matched correctly. |
|  |  | 3.2 | Trim accurately around fittings with minimal impact on surroundings. |
| 4 | Clean up. | 4.1 | Clean up, meeting all legislative and workplace requirements for safety, waste disposal, materials handling and protection of the environment. |
|  |  | 4.2 | Clear work area, reuse or recycle materials and place waste and unwanted materials into job waste bins or rubbish stockpile. |
|  |  | 4.3 | Check and maintain tools and equipment and clean with appropriate solvents. |
|  |  | 4.4 | Dispose of waste and water and solvents used in cleaning tools and equipment in an environmentally sustainable manner. |
|  |  | 4.5 | Store tools, equipment and unused materials. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and equivalent to CPCCPD3032A Apply advanced wallpaper techniques.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad