# Assessment Requirements for CPCCRI3015 Perform advanced tilt-up slab erection

Release: 3

Assessment Requirements for CPCCRI3015 Perform advanced tilt-up slab erection

# Modification History

| Release 3 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Minor edits to formatting. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCRI3015A Perform advanced tilt-up slab erection. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency in this unit, a candidate must meet the elements and performance criteria by performing advanced tilt-up slab erection to erect:

one multi-point precast tilt-up slab of at least 10 tonnes

one cast in situ tilt-up slab of at least 10 tonnes.

Each task must be performed using correct rigging, slinging and de-rigging techniques, including:

determining lifting points, temporary supports and permanent fixing points from panel erection drawings by following the lift plan

positioning and bracing the slab

safe unloading from the truck

rotating panel from one plane to another

incorporating at least two bracing techniques.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace and regulatory requirements for performing advanced tilt-up slab erection under applicable Commonwealth, state or territory work health and safety (WHS) legislation and codes of practice:

job safety and environmental analyses (JSEAs)

safe work method statements (SWMSs)

safety manuals and instructions for plant, tools and equipment

signage and barricades

personal protective equipment (PPE)

working at heights requirements

environmental and worksite safety plans

reporting problems

scope of work for performing advanced tilt-up slab erection:

calculations:

load charts

fleet angles

diverter sheaves

lead loads

head loads

load angle factors

multiple fall

load share

precast compliance charts

safe working loads

load slinging methods:

straight sling

adjustable sling

reeved sling

inclined sling

advanced lifting techniques:

rotation (turning panel from one plane to another)

standard lift from a truck

lift from flat on ground

tilt-up slabs:

prefabricated and cast in situ tilt-up slabs

slabs with cast-in lifting and/or bracing inserts

bracing of tilt-up slabs:

lateral bracing

end bracing

main bracing

knee bracing

deadman bracing

types, characteristics and limitations of tools, equipment and materials required for performing advanced tilt-up slab erection:

chain slings

flexible steel wire rope (FSWR) slings

air winches

chain blocks

chain winches

come-alongs

drifts

eye bolts

hammers

hand operated creeper winches

jacks

podgers

pulley blocks

shackles

shifting spanners

sledge hammers

spanners

spirit levels and automatic levels

tape measures

trolleys

turn buckles

wedges

wrenches

requirements for use of tools, equipment and materials for performing advanced tilt-up slab erection:

safe operating procedures

operational, maintenance and basic diagnostic procedures

workplace and equipment safety requirements

signalling methods and communications

processes for completing logbooks and site records

requirements for cleaning up work area, maintaining and storing plant, tools, equipment and materials, and for environmentally friendly waste management.

# Assessment Conditions

Assessors must meet the requirements for assessors outlined in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to:

industry-standard equipment used to perform the tasks specified in the Performance Evidence

appropriate workplace information and records, including policies, procedures and legislative requirements.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad