# CPCCRT3001 Tile regular roofs

Release: 2

CPCCRT3001 Tile regular roofs

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCRT3001A Tile regular roofs. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit of competency specifies the skills and knowledge required to install roof tiles to a range of regular roof structure types.

A person working at this level would be expected to take responsibility for organising and completing tasks assigned to them without close supervision.

Completion of the general construction induction training program specified by the model Code of Practice for Construction Work is required for any person who is to carry out construction work.  Achievement of unit CPCWHS1001 Prepare to work safely in the construction industry meets this requirement.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

CPCCWHS2001 Apply WHS requirements, policies and procedures in the construction industry.

# Unit Sector

Roof tiling

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Plan and prepare to tile regular roofs. | 1.1 | Read and interpret work instructions and plan sequence of work. |
|  |  | 1.2 | Plan all work to comply with laws and regulations, the National Construction Code (NCC), Australian Standards, work health and safety (WHS) and environmental requirements, manufacturers’ specifications and workplace requirements. |
|  |  | 1.3 | Select and use personal protective equipment (PPE) for each stage of the task. |
|  |  | 1.4 | Inspect work site, assess hazards and apply risk controls, including required signage and barricades. |
|  |  | 1.5 | Select tools and equipment, check for serviceability and report any faults. |
|  |  | 1.6 | Select materials required for task, calculate quantities, handle safely, and prepare and position ready for use. |
| 2 | Prepare roof face. | 2.1 | Check that fall safety devices have been installed correctly. |
|  |  | 2.2 | Handle, assemble and erect elevator at job location. |
|  |  | 2.3 | Check roof surface and structure for stability, and for safe access to roof for tile installation. |
|  |  | 2.4 | Set out roof surface, and sark. |
| 3 | Cut and fix battens. | 3.1 | Measure and cut battens. |
|  |  | 3.2 | Fix battens using fasteners at specified centres. |
|  |  | 3.3 | Check completed battens for alignment and fixing. |
| 4 | Install tiles. | 4.1 | Load, support and evenly distribute tiles on roof. |
|  |  | 4.2 | Spread out, secure and install roof tiles. |
|  |  | 4.3 | Bed roof tiles using specified bedding mix and maintaining alignment. |
|  |  | 4.4 | Point roof tiles to a flush, smooth finish to job specifications. |
| 5 | Clean up. | 5.1 | Clear roof, guttering and downpipes of waste and surplus material. |
|  |  | 5.2 | Clear work area, dispose of materials, and reuse or recycle in compliance with legislation, regulations and codes of practice. |
|  |  | 5.3 | Clean, check, maintain and store tools and equipment in accordance with manufacturers’ specifications. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and equivalent to CPCCRT3001A Tile regular roofs.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCCRT3001 Tile regular roofs

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCRT3001A Tile regular roofs. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must satisfy all of the elements, performance criteria and foundation skills of this unit by tiling roof construction systems and structures, including:

gable

hip

hip and valley

skillion

Dutch gable valley

Dutch gable hip

gusset valley

broken hip (dog leg)

butt ridging

dog leg valley.

These roof construction systems and structures must include those with:

metal battens and metal frame

metal battens and timber frame

timber battens and metal frame

timber battens and timber frame.

All work must be performed to the standard required in the workplace and must comply with laws and regulations, the National Construction Code (NCC), Australian Standards, work health and safety (WHS) and environmental requirements, manufacturers’ specifications and workplace requirements.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

compliance requirements of the NCC and Australian Standards for tiling regular roofs

workplace quality policies and standards for tiling regular roofs

safety requirements for tiling regular roofs, including:

•	job safety analyses and/or safe work method statements in accordance with Safe Work Australia Code of Practice for Construction Work or state and/or territory equivalent

safety data sheets (SDS)

personal protective equipment (PPE)

environmental requirements for tiling regular roofs

characteristics and applications of roof tiling materials:

adhesives

concrete and terracotta tiles

fastenings and other mechanical fixings

flashings

bedding

sarking

timber and/or metal battens

flexible pointing material

types and uses of materials storage and environmentally friendly waste management

measuring and marking for tiling regular roofs

types and uses of plans, drawings and specifications for tiling regular roofs

types and uses of tools and equipment for tiling regular roofs

processes for the calculation of materials requirements for tiling regular roofs

types and uses of roof construction systems and structures and tiling considerations for regular roofs:

gable

hip

hip and valley

pitched roofs ≤ 27°

skillion

Dutch gable

Dutch gable hip

downpipe spreaders

long rafter sarking

Dutch gable valley

gusset valley

broken hip (dog leg)

butt ridging

dog leg valley

roof tiling techniques and processes

common defects and solutions in roof tiling.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad