# Assessment Requirements for CPCCRT3003 Repair and replace valleys, valley irons and flashings

Release: 2

Assessment Requirements for CPCCRT3003 Repair and replace valleys, valley irons and flashings

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCRT3003B Repair and replace valleys, valley irons and flashings. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must satisfy all of the elements, performance criteria and foundation skills of this unit by removing, replacing and/or installing valley irons and flashings to include:

side flashing

step flashing

soaker flashings

vent pipe flashing

valley iron and valley board

valley flashing (e.g. Dutch gable flashing)

Dutch gable hip flashing

skylight flashing

chimney flashing

brick pillar flashing

front apron flashing

butt ridge flashing

secret hip flashing.

All work must be performed to the standard required in the workplace and must comply with laws and regulations, the National Construction Code (NCC), Australian Standards, work health and safety (WHS) and environmental requirements, manufacturers’ specifications and workplace requirements.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

compliance requirements of the NCC and Australian Standards for repairing and replacing valleys, valley irons and flashings

workplace quality policies and standards for repairing and replacing valleys, valley irons and flashings

safety requirements or repairing and replacing valleys, valley irons and flashings, including:

job safety analyses and/or safe work method statements in accordance with Safe Work Australia Code of Practice for Construction Work or state and/or territory equivalent

safety data sheets (SDS)

personal protective equipment (PPE)

techniques and procedures for repairing tiled roof valleys, valley irons and flashings

environmental requirements for repairing and replacing valleys, valley irons and flashings

characteristics and applications of materials used in repairing tiled roof valleys, valley irons and flashings

processes for installation of roof battens, sarking and flashing

types and uses of materials storage and environmentally friendly waste management

measuring and marking for repairing and replacing valleys, valley irons and flashings

types and uses of plans, drawings and specifications for repairing and replacing valleys, valley irons and flashings

types and uses of tools and equipment for repairing and replacing valleys, valley irons and flashings

types and uses of flashing:

side flashing

step flashing

soaker flashings

vent pipe flashing

valley flashing (e.g. Dutch gable flashing)

Dutch gable hip flashing

skylight flashing

chimney flashing

brick pillar flashing

front apron flashing

butt ridge flashing

secret hip flashing

types and uses of of valley iron and valley board

processes for the calculation of material requirements for repairing and replacing valleys, valley irons and flashings

roof construction systems and structures and tiling considerations.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad