# Assessment Requirements for CPCCRT3004 Repair and renovate tile roofs

Release: 2

Assessment Requirements for CPCCRT3004 Repair and renovate tile roofs

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCRT3004B Repair and renovate tile roofs. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must satisfy all of the elements, performance criteria and foundation skills of this unit by repairing and renovating a minimum one square metre of tiles, including damaged hip cuts, re-bedding and pointing, and replacing:

damaged battens

damaged sarking

flashing and or sarking under downpipe spreader.

All work must be performed to the standard required in the workplace and must comply with laws and regulations, the National Construction Code (NCC), Australian Standards, work health and safety (WHS) and environmental requirements, manufacturers’ specifications and workplace requirements.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

compliance requirements of the NCC and Australian Standards for repairing and renovating tile roofs

workplace quality policies and standards for repairing and renovating tile roofs

safety requirements for repairing and renovating tile roofs, including:

job safety analyses and/or safe work method statements in accordance with Safe Work Australia Code of Practice for Construction Work or state and/or territory equivalent

safety data sheets (SDS)

personal protective equipment (PPE)

environmental requirements for repairing and renovating tile roofs

characteristics and applications of roof tiling materials

installation of roof battens, sarking and flashing

leak detection and causes of leaks in roofs

types and uses of materials storage and environmentally friendly waste management

measuring and marking for repairing and renovating tile roofs

types and uses of plans, drawings and specifications for repairing and renovating tile roofs

types and uses of tools and equipment for repairing and renovating tile roofs

processes for the calculation of material requirements for repairing and renovating tile roofs

types and uses of roof construction systems and structures and tiling considerations

roof tiling techniques and procedures and the process of repairing/renovating tiled roofs.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad