# Assessment Requirements for CPCCSF2002 Use steelfixing tools and equipment

Release: 2

Assessment Requirements for CPCCSF2002 Use steelfixing tools and equipment

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCSF2002A Use steelfixing tools and equipment. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency in this unit, a candidate must meet the elements and performance criteria by using steelfixing tools and equipment to complete two steelfixing tasks, using each of the following on at least one occasion:

bolt cutters

wire nippers

tie wire reels

angle grinders

measuring tapes and rules

general and hand-held power tools

mesh guillotines

cutting attachments

generators for angle grinders

reinforcement benders

welding sets.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace and regulatory requirements for using steelfixing tools and equipment under applicable Commonwealth, state or territory work health and safety (WHS) legislation and codes of practice:

job safety and environmental analyses (JSEAs)

safe work method statements (SWMSs)

safety manuals and instructions for plant, tools and equipment

signage and barricades

personal protective equipment (PPE)

working at heights requirements

environmental and worksite safety plans

reporting problems

steelfixing materials:

deformed bars

ligatures and spacer/spreader assemblies

mesh sheets of deformed bars

mesh sheets of plain bars

plain rods

wire ties

types, characteristics and limitations of steelfixing tools and equipment:

bolt cutters

wire nippers

tie wire reels

angle grinders

measuring tapes and rules

general and hand power tools

generators for angle grinders

reinforcement benders

welding sets

mesh guillotines

cutting attachments

requirements for using steelfixing tools and equipment:

safe operating procedures

operational, maintenance and intermediate diagnostic procedures

workplace and equipment safety requirements

requirements for cleaning up work area, maintaining and storing plant, tools, equipment and materials, and for environmentally friendly waste management.

# Assessment Conditions

Assessors must meet the requirements for assessors outlined in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to:

industry-standard equipment required to perform the tasks specified in the Performance Evidence

appropriate workplace information and records, including policies, procedures and legislative requirements.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad