# Assessment Requirements for CPCCSP2003 Prepare surfaces for plastering

Release: 2

Assessment Requirements for CPCCSP2003 Prepare surfaces for plastering

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCSP2003A Prepare surfaces for plastering. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must satisfy all of the elements, performance criteria and foundation skills of this unit by preparing surfaces with various product faults and damage, including chipped corners, holes and depressions on each of:

a minimum of 2 square metres of masonry wall

an engaged or attached pier with a minimum width of 250 mm and height of 1.0 m

a minimum 2 square metres of sheet wall

a minimum 2 square metres of ceiling.

All work must be performed to the standard required in the workplace and must comply with laws and regulations, the National Construction Code (NCC), Australian Standards, work health and safety (WHS) and environmental requirements, manufacturers’ specifications, workplace requirements, drawings and specifications.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

compliance requirements of the NCC and Australian Standards for preparing surfaces for plastering

workplace quality policies and standards for preparing surfaces for plastering

safety requirements for preparing surfaces for plastering, including:

job safety analyses and/or safe work method statements in accordance with Safe Work Australia Code of Practice for Construction Work or state and/or territory equivalent

safety data sheets (SDS)

personal protective equipment (PPE)

environmental requirements for preparing surfaces for plastering

characteristics, application and limitations of materials for preparing surfaces for plastering, including:

primers and sealants

plaster compounds and finishing coats

additives, such as plasticisers, colour and waterproofing agents

processes, procedures and techniques for:

preparing various surfaces for plastering

calculating material requirements

types and uses of tools and equipment for preparing surfaces for plastering

types and uses of plans, drawings and specifications for preparing surfaces for plastering.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad