# CPCCSP2003 Prepare surfaces for plastering

Release: 2

CPCCSP2003 Prepare surfaces for plastering

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCSP2003A Prepare surfaces for plastering. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to prepare substrates for solid plastering.

It includes patching or filling holes in floors, sheet or masonry walls and ceiling surfaces.

The unit is suitable for people with basic skills and knowledge who undertake routine work tasks under the direction of more experienced workers.

Completion of the general construction induction training program specified by the model Code of Practice for Construction Work is required for any person who is to carry out construction work.  Achievement of unit CPCWHS1001 Prepare to work safely in the construction industry meets this requirement.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

CPCCWHS2001 Apply WHS requirements, policies and procedures in the construction industry.

# Unit Sector

Plastering

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Plan and prepare to prepare surfaces for plastering. | 1.1 | Read and interpret work instructions and plan sequence of work. |
|  |  | 1.2 | Plan all work to comply with laws and regulations, the National Construction Code (NCC), Australian Standards, work health and safety (WHS) and environmental requirements, manufacturers’ specifications, and workplace requirements. |
|  |  | 1.3 | Select and use personal protective equipment (PPE) for each stage of the task. |
|  |  | 1.4 | Inspect work site, assess hazards and apply risk controls, including required signage and barricades. |
|  |  | 1.5 | Select tools and equipment, check for serviceability and report any faults. |
|  |  | 1.6 | Select materials required for task, calculate quantities, handle safely and prepare and position ready for use. |
| 2 | Patch holes and depressions. | 2.1 | Determine patching methods and materials from type of material surface, size of hole/depression, compatibility of materials and planned finish. |
|  |  | 2.2 | Apply materials using appropriate application methods. |
| 3 | Prepare surface. | 3.1 | Determine method of preparation of surface to suit the type of finish. |
|  |  | 3.2 | Remove protruding and loose materials and prepare surface for solid plastering. |
|  |  | 3.3 | Apply sealing or primer coat to prepared surface. |
| 4 | Clean up. | 4.1 | Clear work area, dispose of materials, and reuse or recycle in compliance with legislation, regulations and codes of practice. |
|  |  | 4.2 | Clean, check, maintain and store tools and equipment in accordance with manufacturers’ specifications. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and equivalent to CPCCSP2003A Prepare surfaces for plastering.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCCSP2003 Prepare surfaces for plastering

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCSP2003A Prepare surfaces for plastering. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must satisfy all of the elements, performance criteria and foundation skills of this unit by preparing surfaces with various product faults and damage, including chipped corners, holes and depressions on each of:

a minimum of 2 square metres of masonry wall

an engaged or attached pier with a minimum width of 250 mm and height of 1.0 m

a minimum 2 square metres of sheet wall

a minimum 2 square metres of ceiling.

All work must be performed to the standard required in the workplace and must comply with laws and regulations, the National Construction Code (NCC), Australian Standards, work health and safety (WHS) and environmental requirements, manufacturers’ specifications, workplace requirements, drawings and specifications.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

compliance requirements of the NCC and Australian Standards for preparing surfaces for plastering

workplace quality policies and standards for preparing surfaces for plastering

safety requirements for preparing surfaces for plastering, including:

job safety analyses and/or safe work method statements in accordance with Safe Work Australia Code of Practice for Construction Work or state and/or territory equivalent

safety data sheets (SDS)

personal protective equipment (PPE)

environmental requirements for preparing surfaces for plastering

characteristics, application and limitations of materials for preparing surfaces for plastering, including:

primers and sealants

plaster compounds and finishing coats

additives, such as plasticisers, colour and waterproofing agents

processes, procedures and techniques for:

preparing various surfaces for plastering

calculating material requirements

types and uses of tools and equipment for preparing surfaces for plastering

types and uses of plans, drawings and specifications for preparing surfaces for plastering.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad