# Assessment Requirements for CPCCSP3002 Apply set coats

Release: 2

Assessment Requirements for CPCCSP3002 Apply set coats

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCSP3002A Apply set coats. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must satisfy all of the elements, performance criteria and foundation skills of this unit by applying set coats and trowelling surfaces to achieve a level of finish within specified tolerances to:

a minimum 4 square metres of vertical surface, including an opening with a head, sill and reveals

a minimum 4 square metres of horizontal surface

a minimum 4 square metres of curved surface.

All work must be performed to the standard required in the workplace and must comply with laws and regulations, Australian Standards, work health and safety (WHS) and environmental requirements, manufacturers’ specifications, workplace requirements, drawings and specifications.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

compliance requirements of Australian Standards for applying set coats

workplace quality policies and standards for applying set coats

safety requirements for applying set coats, including:

job safety analyses and/or safe work method statements in accordance with Safe Work Australia Code of Practice for Construction Work or state and/or territory equivalent

safety data sheets (SDS)

personal protective equipment (PPE)

environmental requirements for applying set coats

characteristics of substrates for set coats, including:

masonry

sheeting

uses of approved materials and components for solid plastering:

corner beads

casing beads

timber or expanded metal lathing (ELP)

sand, lime and lime putty

plaster compounds and finishing coats

additives, such as plasticisers, colour and waterproofing agents

processes and techniques for mixing and applying set coats

types and uses of tools and equipment for mixing and applying set coats

types and uses of plans, drawings and specifications for applying set coats.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad