# Assessment Requirements for CPCCSP3004 Restore and renovate solid plasterwork

Release: 3

Assessment Requirements for CPCCSP3004 Restore and renovate solid plasterwork

# Modification History

| Release 3 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Performance Evidence formatted for clarity. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCSP3004A Restore and renovate solid plasterwork. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must satisfy all of the elements, performance criteria and foundation skills of this unit by:

restoring solid plasterwork to:

a minimum of 4 square metres of curved surface

a minimum of 4 square metres of ceiling

a minimum 1.2 metre high archway or column

renovating a monogram and two letters using moulds

pre-treating and restoring a spall area.

All work must be performed to the standard required in the workplace and must comply with the National Construction Code (NCC), Australian Standards, laws and regulations, work health and safety (WHS) and environmental requirements, manufacturers’ specifications, workplace requirements, drawings and specifications.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

compliance requirements of the NCC and Australian Standards for restoring and renovating solid plasterwork

workplace quality policies and standards for restoring and renovating solid plasterwork

safety requirements for restoring and renovating solid plasterwork, including:

job safety analyses and/or safe work method statements in accordance with Safe Work Australia Code of Practice for Construction Work or state and/or territory equivalent

safety data sheets (SDS)

personal protective equipment (PPE)

environmental requirements for restoring and renovating solid plasterwork

uses of materials and components for restoring and renovating solid plasterwork, including:

corner beads

casing beads

sand, lime and lime putty

plaster compounds and finishing coats

additives, including plasticisers, colour and waterproofing agents

texture/proprietary finishes

processes and techniques for renovating and restoring solid plasterwork

types and uses of tools and equipment for restoring and renovating solid plasterwork

types and uses of plans, drawings and specifications for restoring and renovating solid plasterwork.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad