# Assessment Requirements for CPCCSP3005 Install pre-cast decorative mouldings

Release: 2

Assessment Requirements for CPCCSP3005 Install pre-cast decorative mouldings

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCSP3005A Install pre-cast decorative mouldings. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by installing and finishing three different pre-cast mouldings, including:

one on a ceiling

one to an external window

a decorative cover strap, dado or a skirting on an internal wall

a moulded archway.

All work must be performed to the standard required in the workplace and must comply with laws and regulations, the National Construction Code (NCC), Australian Standards, work health and safety (WHS) and environmental requirements, manufacturers’ specifications, workplace requirements, drawings and specifications.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

compliance requirements of the NCC and Australian Standards for installing pre-cast decorative mouldings

workplace quality policies and standards for installing pre-cast decorative mouldings

safety requirements for installing pre-cast decorative mouldings, including:

job safety analyses and/or safe work method statements in accordance with Safe Work Australia Code of Practice for Construction Work or state and/or territory equivalent

safety data sheets (SDS)

personal protective equipment (PPE)

processes, procedures and techniques for:

measuring, cutting, fixing, stopping, installing and finishing pre-cast decorative moulding

storing materials and components

calculating materials using measurements and formulas

types and uses of pre-cast decorative moulding installation materials

types and uses of tools and equipment for installing pre-cast decorative mouldings

types and uses of plans, drawings and specifications for installing pre-cast decorative mouldings

environmental and sustainability requirements for installing pre-cast decorative mouldings.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad