# Assessment Requirements for CPCCST2001 Prepare for stonemasonry construction process

Release: 2

Assessment Requirements for CPCCST2001 Prepare for stonemasonry construction process

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCST2001A Prepare for the stonemasonry construction process. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency in this unit, a candidate must meet the performance criteria of this unit by assisting with two stone masonry laying project on two different sites.

In doing this, the candidate must:

clear the work area, position masonry materials ready for laying

mix mortar or adhesive to job specifications and maintain sufficient quantities on mortar boards

maintain a clean and safe workplace.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

characteristics, applications and limitations of specified materials for stonemasonry construction

igneous, metamorphic and sedimentary rocks and the appropriate tools to work on these type of rocks

construction terminology relating to stonemasonry construction

mortar and adhesive ingredients and consistency

functional and operational features of equipment and hand and power tools:

angle grinders

masonry saws

hand tools

wheelbarrows

types and safe use of stone lifting equipment

workplace practices relating to stonemasonry

workplace safety:

job safety and environmental analysis (JSEA)

exposure to silica dust

exposure to loud noise

hazardous manual tasks

processes and techniques for:

material protection and storage

stonemasonry construction work

locating and loading mortar boards

work area preparation

laying stone

environmental requirements for workplace processes and waste disposal.

key features of plans and specifications

stonemasonry regulations, standards and codes.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation reflecting workplace conditions and standards, materials, equipment, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad