# CPCCST2006 Identify and use stone products

Release: 2

CPCCST2006 Identify and use stone products

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCST2006A Identify and use stone products. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to identify, select and cut suitable natural stone for both off-site and in situ installation.

This unit is suitable for people with basic skills and knowledge who undertake routine stonemasonry work tasks under the direction of more experienced workers.

Completion of the general construction induction training program specified by the model Code of Practice for Construction Work is required for any person who is to carry out construction work. Achievement of CPCWHS1001 Prepare to work safely in the construction industry meets this requirement.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

CPCCWHS2001 Apply WHS requirements, policies and procedures in the construction industry

# Unit Sector

Stonemasonry

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Plan and prepare. | 1.1 | Read and interpret relevant information to identify and use stone products from specifications, standards and codes. |
|  |  | 1.2 | Interpret and follow relevant information from workplace safety and environmental documentation and workplace procedures. |
|  |  | 1.3 | Clarify job priorities and sequence job tasks in consultation with others on site. |
|  |  | 1.4 | Identify potential hazards and implement control measures. |
|  |  | 1.5 | Select and check condition of plant, equipment and tools and report damage or faults to relevant person. |
|  |  | 1.6 | Check conformity of materials against the job requirements. |
| 2 | Identify types and characteristics of stone. | 2.1 | Identify and match architectural styles, natural and manufactured stone and functions of stone products to job specifications. |
|  |  | 2.2 | Identify sources of stone and manufacturing and quarrying techniques for production of natural and manufactured stone. |
|  |  | 2.3 | Identify key features and patterns in stone. |
|  |  | 2.4 | Identify defects in stone and the effect on their functions. |
|  |  | 2.5 | Identify methods, processes and plant and tools used to manufacture stone products. |
| 3 | Saw stone | 3.1 | Select, fit correctly and use personal protective equipment (PPE) appropriate for job. |
|  |  | 3.2 | Apply manual handling techniques when positioning stone on cutting machine. |
|  |  | 3.3 | Secure stone, align cuts and operate equipment and tools to saw stone. |
|  |  | 3.4 | Cut stone to size and design and take measures to minimise silica dust. |
| 4 | Clean up. | 4.1 | Clear the work area, and dispose of, reuse or recycle materials following workplace and environment requirements. |
|  |  | 4.2 | Clean tools and equipment, check for serviceability and report damage or faults. |
|  |  | 4.3 | Store and secure tools and equipment following workplace procedures. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCCST2006A Identify and use stone products

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad