# Assessment Requirements for CPCCST3012 Build stone veneer walls

Release: 2

Assessment Requirements for CPCCST3012 Build stone veneer walls

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCST3012A Build stone veneer walls. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency in this unit, a candidate must meet the performance criteria of this unit by building a minimum 2.1 m long x 2.0 m high section of stone veneer wall with one external corner on a slab construction.

In doing this, the candidate must:

build in damp proof course and ventilation

build a door and window opening with lintel and flashings.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

characteristics, applications and limitations of specified materials for stone veneer construction

processes and techniques for stone veneer construction:

vermin control and anti-termite measures

damp proofing, flashing and ventilation

floor, wall and roof members

frame tying components

lintels and load bearing components

timber and steel door frames

gable and eaves construction

construction terminology relating to stone veneer construction

stone expansion and growth, control and articulation joints

mortar ingredients and consistency

stone bond patterns and gauge

functional and operational features of plant, equipment and hand and power tools

workplace processes and procedures

workplace safety:

job safety and environmental analysis (JSEA)

exposure to silica dust

exposure to loud noise

hazardous manual tasks

work at heights

safe use of scaffold

types and safe use of lifting equipment

features of working drawing and specifications

Australian Standards and codes

requirements of National Construction Code (NCC) relating to veneer construction

environmental requirements for workplace processes and waste disposal

digital technology to source information and communicate with others.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation reflecting workplace conditions and standards, materials, equipment, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad