# Assessment Requirements for CPCCST3014 Set and anchor stone facades

Release: 2

Assessment Requirements for CPCCST3014 Set and anchor stone facades

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCST3014A Set and anchor stone facades. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency in this unit, a candidate must meet the performance criteria of this unit by setting and anchoring stone facades to a steel frame or concrete construction with minimum height of 1.5 m.

In doing this, the candidate must:

prepare the base tie down system and set and anchor stone facades to specifications

set stone facades around an opening

fix stone facades into an internal or external corner.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

characteristics, applications and limitations of specified materials and components used in anchoring stone facades

processes and techniques for fixing facade stone onto:

brick/concrete masonry walls

in situ, reinforced concrete

pre-cast reinforced concrete

structural steel framing

methods of fixing stone facades:

S hook

back clamp

corbel plate bracket

dog cramp

fish tailed cramp

pin bracket

slotted bracket

turned end cramp

construction terminology relating to anchor stone facades

masonry expansion and growth, control and articulation joints

types and safe use of lifting equipment

functional and operational features of plant, equipment and hand and power tools:

lifting gear and equipment

air compressor and hoses

power grinders

impact drills

battery operated tools

workplace processes and procedures

workplace safety:

exposure to silica

job safety and environmental analysis (JSEA)

hazardous manual tasks

working at heights

exposure to excessive noise

hazardous substances

features of working drawings and specifications

environmental requirements for workplace processes and waste disposal

digital technology to source information and communicate with others

fire control and separation requirements

key requirements of National Construction Code (NCC) relevant to stone facades.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation reflecting workplace conditions and standards, materials, equipment, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad