# Assessment Requirements for CPCCST4003 Undertake preparations for refractory work

Release: 2

Assessment Requirements for CPCCST4003 Undertake preparations for refractory work

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCBC4041A Undertake preparations for refractory work. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by preparing for a minimum of one refractory work construction project and one refractory repair project.

In doing this, the candidate must:

ensure that all refractory materials comply with refractory standards and codes

ensure evidence of suitability, as stated in the National Construction Code (NCC), is issued by suppliers or manufacturer.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

government building and construction legislation relating to refractory work

building and construction regulation, standards and codes

relevant sections of National Construction Code (NCC):

requirements of evidence of suitability

fire resistance

fire places, chimneys and flues

characteristics, applications and limitations of refractory materials:

castables

different types of insulation materials, including insulation boards and bricks

fire bricks

fire clay

stainless steel joints

insulation

processes, techniques and methods of refractory brickwork

workplace policies and procedures:

acquisition of materials

key features of refractory plans and specifications:

signs, symbols and abbreviations

dimensions and scales

views, sections and details

allowable tolerances for brickwork stated in standards

workplace safety:

exposure to silica

exposure to excessive noise

working at height

hazardous manual tasks

working with hazardous materials

working platforms and scaffolding

functional and operational features of plant, equipment and hand and power tools

workplace procedures and environmental requirements relating to waste management

digital devices, applications and software to achieve tasks outcome.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be undertaken in the workplace or in a simulated workplace environment.

Candidates must be provided with:

relevant government legislation

current refractory codes and standards

relevant construction drawings, site plans and specifications

organisational policies, procedures and other quality documentation to undertake the performance criteria and evidence requirements

digital devices, applications and software to create project schedules and documentation.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad