# CPCCST4003 Undertake preparations for refractory work

Release: 2

CPCCST4003 Undertake preparations for refractory work

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCBC4041A Undertake preparations for refractory work. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit of competency specifies the skills and knowledge required to prepare for the commencement of work using refractory bricks and materials. It includes preparing for the construction or repair of various fire resistant structures, including boilers, kilns and industry furnaces.

It applies to specialist and advanced tradespeople working in refractory bricklaying using quality materials as specified by engineers.

This unit is suitable for people operating with autonomy. A person working at this level would be expected to take responsibility for the preparation of refractory work.

Completion of the general construction induction training program specified by the model Code of Practice for Construction Work is required for any person who is to carry out construction work.  Achievement of CPCWHS1001 Prepare to work safely in the construction industry meets this requirement.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Stonemasonry

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Plan the work. | 1.1 | Read, interpret and apply refractory construction requirements from current plans, specifications, standards and codes. |
|  |  | 1.2 | Obtain, interpret and follow relevant information from work health and safety (WHS), workplace procedures and environmental documentation. |
|  |  | 1.3 | Use measurements and apply formulas to calculate material quantities from plans and specifications. |
|  |  | 1.4 | Determine job priorities and sequence job tasks in consultation with others on site. |
|  |  | 1.5 | Identify potential hazards and determine and implement control measures. |
| 2 | Prepare for refractory work. | 2.1 | Check quantity of delivered materials against the delivery docket and order list. |
|  |  | 2.2 | Examine materials for conformity with specification, repudiate non-conforming or damaged materials and report to relevant person. |
|  |  | 2.3 | Select and check serviceability or equipment and tools and set aside and report any faulty or damaged equipment. |
|  |  | 2.4 | Select, fit and use personal protective equipment. |
| 3 | Prepare site for commencement of work. | 3.1 | Establish position of project for refractory work from plans. |
|  |  | 3.2 | Load refractory materials in preparation for job commencement ensuring materials are blended from each pallet. |
|  |  | 3.3 | Mix refractory mortar consistently to design requirements. |
|  |  | 3.4 | Load mortar onto boards and maintain sufficient volume and flow of materials during construction. |

# Foundation Skills

As well as the foundation skills explicit in the performance criteria of this unit, candidates require:

technology skills to:

use communication tools and devices to communicate and collaborate effectively with others

use equipment and programs to access and extract information and develop relevant project schedules and documentation.

# Unit Mapping Information

Supersedes and equivalent to CPCCBC4041A Undertake preparations for refractory work.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCCST4003 Undertake preparations for refractory work

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCBC4041A Undertake preparations for refractory work. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by preparing for a minimum of one refractory work construction project and one refractory repair project.

In doing this, the candidate must:

ensure that all refractory materials comply with refractory standards and codes

ensure evidence of suitability, as stated in the National Construction Code (NCC), is issued by suppliers or manufacturer.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

government building and construction legislation relating to refractory work

building and construction regulation, standards and codes

relevant sections of National Construction Code (NCC):

requirements of evidence of suitability

fire resistance

fire places, chimneys and flues

characteristics, applications and limitations of refractory materials:

castables

different types of insulation materials, including insulation boards and bricks

fire bricks

fire clay

stainless steel joints

insulation

processes, techniques and methods of refractory brickwork

workplace policies and procedures:

acquisition of materials

key features of refractory plans and specifications:

signs, symbols and abbreviations

dimensions and scales

views, sections and details

allowable tolerances for brickwork stated in standards

workplace safety:

exposure to silica

exposure to excessive noise

working at height

hazardous manual tasks

working with hazardous materials

working platforms and scaffolding

functional and operational features of plant, equipment and hand and power tools

workplace procedures and environmental requirements relating to waste management

digital devices, applications and software to achieve tasks outcome.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be undertaken in the workplace or in a simulated workplace environment.

Candidates must be provided with:

relevant government legislation

current refractory codes and standards

relevant construction drawings, site plans and specifications

organisational policies, procedures and other quality documentation to undertake the performance criteria and evidence requirements

digital devices, applications and software to create project schedules and documentation.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad