# Assessment Requirements for CPCCSV5009 Assess the impact of fire on building materials

Release: 2

Assessment Requirements for CPCCSV5009 Assess the impact of fire on building materials

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Changes to the Application. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCSV5009A Assess the impact of fire on building materials. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by:

performing fire research, analysis, identification and reporting of findings for at least one fire assessment or equivalent, including at least three different materials

assessing applicable fire safe suitable building materials for at least one building project

providing reports to appropriate body/individual as determined by the project brief.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

characteristics of endothermic and exothermic processes

effects of fire on structural and non-structural elements:

behaviour of building materials subject to extreme heat

combustion of materials

fire loads of buildings

fire resistance of materials

flammability circumstances

heat transfer characteristics

point of fire burning conditions

extinguishment principles

limiting adiabatic flame temperature (LAFT) values

materials:

timber

plastic

fabric

other types of fire load forming building materials

principles of combustion and flammability

processes for the preparation of documentation

relevant federal, state or territory legislation and local government policy and procedures

research methods:

definitions and test outcomes

material safety data sheets (MSDS)

reports

written records and historical data.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad