# CPCCWC2001 Complete penetrations and flashings

Release: 2

CPCCWC2001 Complete penetrations and flashings

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCWC2001A Complete penetrations and flashings. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to complete the penetrations and flashings associated with wall and ceiling lining, meeting all relevant requirements of Australian Standards, work health and safety (WHS) requirements, and Commonwealth and state or territory legislation. It does not cover the technical aspects of passive fire systems.

The unit is suitable for those with basic skills and knowledge undertaking routine work tasks under the direction of more experienced workers.

Completion of the general construction induction training program specified by the model Code of Practice for Construction Work is required for any person who is to carry out construction work.  Achievement of CPCWHS1001 Prepare to work safely in the construction industry meets this requirement.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

CPCCWHS2001 Apply WHS requirements, policies and procedures in the construction industry

# Unit Sector

Wall and ceiling

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Plan and prepare. | 1.1 | Read and interpret work instructions and plan sequence of work. |
|  |  | 1.2 | Select and use personal protective equipment (PPE) as required for each stage of the task. |
|  |  | 1.3 | Plan all work to comply with laws and regulations, Australian Standards, work health and safety (WHS) and environmental requirements, manufacturers’ specifications, workplace requirements, drawings and specifications. |
|  |  | 1.4 | Follow requirements of job safety analyses and safety data sheets. |
|  |  | 1.5 | Inspect work site, locate services, assess hazards and apply risk controls, including required signage and barricades. |
|  |  | 1.6 | Select tools and equipment, check for serviceability and report any faults. |
| 2 | Confirm penetration and flashing requirements. | 2.1 | Select type of penetration and flashing to match host materials and meet work instructions. |
|  |  | 2.2 | Identify, set out and check penetration location in accordance with workplace requirements. |
| 3 | Complete penetration and flashing. | 3.1 | Create penetration safely and with minimal modification or damage to host materials. |
|  |  | 3.2 | Install flashing safely and with minimal modification or damage to host materials. |
|  |  | 3.3 | Install and connect casings, housings or other terminating points in accordance with workplace and regulatory requirements. |
|  |  | 3.4 | Apply sealant or caulking compound to restore integrity of wall or ceiling system in accordance with manufacturers’ recommendations. |
|  |  | 3.5 | Prepare surfaces for finishing. |
| 4 | Clean up. | 4.1 | Clear work area, dispose of materials, and reuse or recycle in compliance with legislation, regulations and codes of practice. |
|  |  | 4.2 | Clean, check, maintain and store tools and equipment in accordance with manufacturers’ recommendations. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and equivalent to CPCCWC2001A Complete penetrations and flashings.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad