# CPCCWF2001 Handle wall and floor tiling materials

Release: 2

CPCCWF2001 Handle wall and floor tiling materials

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCWF2001A Handle wall and floor tiling materials. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit of competency specifies the skills and knowledge required to safely handle and store wall and floor tiling products and materials.

It includes the preparation, handling, sorting and stacking, distribution and disposal of wall and floor tiling products and materials.

The unit is suitable for those with basic skills and knowledge undertaking routine work tasks under the direction of more experienced workers.

Completion of the general construction induction training program specified by the model Code of Practice for Construction Work is required for any person who is to carry out construction work.  Achievement of CPCWHS1001 Prepare to work safely in the construction industry meets this requirement.

Licensing, legislative or certification requirements apply to this unit in some states and territories and users are advised to check with the relevant regulatory authority.

# Pre-requisite Unit

CPCCWHS2001 Apply WHS requirements, policies and procedures in the construction industry.

# Unit Sector

Wall and floor tiling

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Plan and prepare to handle wall and floor tiling materials. | 1.1 | Read and interpret task work instructions and plan sequence of work. |
|  |  | 1.2 | Select and use personal protective equipment (PPE) as required for each stage of the task. |
|  |  | 1.3 | Plan all work to comply with laws and regulations, Australian Standards, work health and safety (WHS) and environmental requirements, manufacturers’ specifications, workplace requirements, drawings and specifications. |
|  |  | 1.4 | Inspect work site, assess hazards and apply risk controls, including required signage and barricades. |
|  |  | 1.5 | Select tools and equipment, check for serviceability and report any faults. |
| 2 | Receive, sort and distribute wall and floor tiling materials. | 2.1 | Check tiling products and materials conform to task quality and quantity. |
|  |  | 2.2 | Handle tiling material in accordance with safe work method statements. |
|  |  | 2.3 | Handle, proportion, mix and store tiling materials. |
|  |  | 2.4 | Sort tiling products and materials by type and size, and stack for ease of identification and task sequence. |
|  |  | 2.5 | Distribute tiling products and materials to job location. |
| 3 | Handle and remove surplus material and clean up. | 3.1 | Handle surplus materials safely and effectively in accordance with safety data sheets. |
|  |  | 3.2 | Identify hazardous material for separate handling by authorised personnel. |
|  |  | 3.3 | Handle, recover and transfer tiling products and material from job location and store in accordance with safety data sheets and workplace requirements. |
|  |  | 3.4 | Clean, check, maintain and store tools and equipment in accordance with manufacturers’ recommendations. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and equivalent to CPCCWF2001A Handle wall and floor tiling materials.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCCWF2001 Handle wall and floor tiling materials

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCWF2001A Handle wall and floor tiling materials. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must satisfy all of the elements, performance criteria and foundation skills of this unit by handling, sorting, distributing, stacking and storing wall and floor tiling products and materials required for the tiling of a minimum 10 square metres of the walls and floor of a bathroom.

All work must be performed to the standard required in the workplace and comply with Commonwealth and state/territory laws and regulations, Australian Standards, work health and safety (WHS) and environmental requirements, manufacturers’ specifications and workplace requirements.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace quality policies and standards for handling wall and floor tiling materials

safety requirements relevant to handling wall and floor tiling materials, including:

job safety analyses and/or safe work method statements in accordance with Safe Work Australia Code of Practice for Construction Work or state and/or territory equivalent

personal protective equipment (PPE)

techniques for safely handling, sorting, distributing, stacking and storing wall and floor tiling materials

environmental requirements for handling wall and floor tiling materials

techniques for handling, sorting, distributing, stacking and storing large format tiles

processes to handle, proportion, mix and store materials

types and uses of materials storage and environmentally friendly waste management relevant to handling wall and floor tiling materials

types and uses of plans, drawings and specifications for handling wall and floor tiling materials

types and uses of tools and equipment for handling wall and floor tiling materials

wall and floor tiling processes and sequences.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad