# Assessment Requirements for CPCCWF2002 Use wall and floor tiling tools and equipment

Release: 2

Assessment Requirements for CPCCWF2002 Use wall and floor tiling tools and equipment

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCWF2002A Use wall and floor tiling tools and equipment. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must satisfy all of the elements, performance criteria and foundation skills of this unit by completing wall and floor tiling tasks using a range of tools and equipment, including as a minimum:

buckets

caulking guns

levelling equipment:

straight edges

string lines

spirit levels

laser levels

hammers

measuring tapes and rules

nippers

scrapers

shovels

spacers and wedges

sponges

squares

squeegees

straight edges

tile cutters and scribes

trowels

wet and dry diamond saws

floats

adhesive mixers

diamond hole saws

power drills

angle grinders

power leads.

All work using the above tools and equipment must be performed to the standard required in the workplace and comply with Commonwealth and state/territory laws and regulations, work health and safety (WHS) and environmental requirements, manufacturers’ specifications and workplace requirements.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace quality policies and standards for using wall and floor tiling tools and equipment

safety requirements for using wall and floor tiling tools and equipment, including:

job safety analyses and/or or safe work method statements in accordance with Safe Work Australia Code of Practice for Construction Work or state and and/or or territory equivalent

personal protective equipment (PPE)

environmental requirements for using wall and floor tiling equipment

characteristics, applications and safe use of wall and floor tiling tools and equipment:

lippage reduction systems

buckets

caulking guns

levelling equipment:

straight edges

stringlines

spirit levels

laser levels

hammers

measuring tapes and rules

nippers

scrapers

shovels

spacers and wedges

sponges

squares

squeegees

straight edges

tile cutters and scribes

trowels

wet and dry diamond saws

floats

adhesive mixers

diamond hole saws

power drills

angle grinders

power leads

manufacturers’ recommendations for tools and equipment.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad