# Assessment Requirements for CPCCWF3001 Prepare surfaces for tiling application

Release: 2

Assessment Requirements for CPCCWF3001 Prepare surfaces for tiling application

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCWF3001A Prepare surfaces for tiling application. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must satisfy all of the elements, performance criteria and foundation skills of this unit by preparing for tiling:

9 square metres of a framed bathroom wall and floor

9 square metres of a masonry bathroom wall and floor.

All work must be performed to the standard required in the workplace and comply with Commonwealth and state/territory laws and regulations, Australian Standards, work health and safety (WHS) and environmental requirements, manufacturers’ specifications and workplace requirements.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

compliance requirements of Australian Standards for preparing surfaces for tiling

workplace quality policies and standards for preparing surfaces for tiling

safety requirements for preparing surfaces for tiling, including:

job safety analyses and/or safe work method statements in accordance with Safe Work Australia Code of Practice for Construction Work or state and/or territory equivalent

personal protective equipment (PPE)

environmental requirements for preparing surfaces for tiling

types and uses of materials storage and environmentally friendly waste management

types and uses of tools and equipment for preparing surfaces for tiling

processes for selection of compatible materials for preparing surfaces for tiling

processes for the calculation of material requirements for preparing surfaces for tiling

surface preparation materials and techniques for:

underlay material

substrate preparation

substrate surface materials.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad