# Assessment Requirements for CPCCWF3003 Install wall tiles

Release: 2

Assessment Requirements for CPCCWF3003 Install wall tiles

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCWF3003A Fix wall tiles. Change to title. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must satisfy all of the elements, performance criteria and foundation skills of this unit by preparing the substrate and tiling a minimum of:

the front and surrounds of a bath, at least 1500 millimetres long

four square metres of wall that includes a door opening and a niche

one lineal metre mitred hob

one lineal metre trim installed to an external corner.

All work must be performed to the standard required in the workplace and must comply with Commonwealth and state/territory laws and regulations, Australian Standards, work health and safety (WHS) and environmental requirements, manufacturers’ specifications and workplace requirements.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

compliance requirements of Australian Standards for installing wall tiles

workplace quality policies and standards for installing wall tiles

safety requirements for installing wall tiles, including:

job safety analyses and/or safe work method statements in accordance with Safe Work Australia Code of Practice for Construction Work or state and/or territory equivalent

personal protective equipment (PPE)

environmental requirements for installing wall tiles

placement and design of movement joints

types and uses of materials storage and environmentally friendly waste management

plans, drawings and specifications for installing wall tiles

types and uses of tools and equipment for installing wall tiles

processes for calculation of material requirements for installing wall tiles

techniques in installing tiles to walls and corners:

preparation of structures and substrates

types of substrates

types and uses of waterproofing systems

cutting and installing types of tiles in common use:

large format tiles

tiling material qualities, characteristics, preparation requirements, techniques, applications and limitations:

adhesive types and classifications

grout types, including epoxy grout.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad