# Assessment Requirements for CPCCWF3006 Install mosaic tiling

Release: 3

Assessment Requirements for CPCCWF3006 Install mosaic tiling

# Modification History

| Release 3 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Correction to Elements and Performance Criteria 1 through 3. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCWF3006A Carry out mosaic tiling. Change to title. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must satisfy all of the elements, performance criteria and foundation skills of this unit by preparing and installing mosaic tiles to a minimum:

of two square metres of wall, including a niche

of two lineal metres of hob and return

of one square metre of shower floor with fall, including a drain.

All work must be performed to the standard required in the workplace and must comply with Commonwealth and state/territory laws and regulations, Australian Standards, work health and safety (WHS) and environmental requirements, manufacturers’ specifications and workplace requirements.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

compliance requirements of Australian Standards for mosaic tiling

workplace quality policies and standards for mosaic tiling

safety requirements for mosaic tiling, including:

job safety analyses and/or safe work method statements in accordance with Safe Work Australia Code of Practice for Construction Work or state and/or territory equivalent

personal protective equipment (PPE)

environmental requirements for mosaic tiling

types and uses of materials storage and environmentally friendly waste management for mosaic tiling

characteristics, preparation requirements, limitations and compatibility of mosaic tiling substrates and materials:

mosaic tiles:

ceramic

stone

glass

metal

adhesives

grouting materials

tile trim (external and internal corners)

types of substrates

mosaic tiling methods and set out procedures

types and uses of plans, drawings and specifications for mosaic tiling

types and uses of mosaic tiling tools and equipment

processes for the calculation of material requirements for mosaic tiling

tiling material qualities, characteristics, preparation requirements, techniques, applications and limitations:

adhesive types and classifications

grout types, including epoxy grout.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad