# Assessment Requirements for CPCCWF3008 Tile pools and spas

Release: 3

Assessment Requirements for CPCCWF3008 Tile pools and spas

# Modification History

| Release 3 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Knowledge Evidence formatted for clarity. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCWF3008A Tile domestic pools and spas. Change to title. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must satisfy all of the elements, performance criteria and foundation skills of this unit by tiling a minimum of a coved corner of a pool or spa with coping, extending a minimum 1 metre deep and 1 metre wide in all directions with the floor falling a minimum 1:60.

All work must be performed to the standard required in the workplace and comply with Commonwealth and state/territory laws and regulations, the National Construction Code (NCC), Australian Standards, work health and safety (WHS) and environmental requirements, manufacturers’ specifications and workplace requirements.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

the National Construction Code (NCC) and Australian Standards requirements for tiling pools and spas

workplace quality policies and standards for tiling pools and spas

safety requirements for tiling pools and spas, including:

job safety analyses and/or safe work method statements in accordance with Safe Work Australia Code of Practice for Construction Work or state and/or territory equivalent

safety data sheets (SDS)

personal protective equipment (PPE)

environmental requirements relevant to tiling pools and spas

types and uses of materials storage and environmentally friendly waste management

types and uses of plans, drawings and specifications for tiling pools and spas

types and uses of tools and equipment for tiling pools and spas

types and uses of pool and spa tiling materials

processes for the calculation of material requirements and set outs for tiling pools and spas

techniques for tiling pools and spas

processes for tiling curved and tapered surfaces

compatible render/screed, waterproofing, adhesive and grout systems for tiling pools and spas.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad