# Assessment Requirements for CPCCWP3002 Apply waterproofing process to internal wet areas

Release: 3

Assessment Requirements for CPCCWP3002 Apply waterproofing process to internal wet areas

# Modification History

| Release 3 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Changes to Performance Evidence and Unit Sector. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCCWP3002A Apply waterproofing process to internal wet areas. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must satisfy all of the elements, performance criteria and foundation skills of this unit by waterproofing an internal wet area, including:

one shower area, a minimum 1800 millimetres high, 900 millimetres x 900 millimetres wide, incorporating:

a niche

tap penetrations

draining connection

water stop/hob

surrounds for an inserted bath with periphery barrier or water stop.

All work must be performed to the standard required in the workplace and must comply with laws and regulations, Australian Standards, work health and safety (WHS) and environmental requirements, manufacturers’ specifications and workplace requirements.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

requirements of Australian Standards for waterproofing internal wet areas

safety requirements for waterproofing internal wet areas, including:

job safety analyses and/or safe work method statements in accordance with Safe Work Australia Code of Practice for Construction Work or state and/or territory equivalent

safety data sheets (SDS)

personal protective equipment (PPE)

manufacturers’ specifications for waterproofing systems and materials

assessment and appreciation of moisture content in substrate materials for waterproofing internal wet areas

waterproofing around fixtures:

vanities

toilets

shower screens

taps

penetrations

waterproofing materials, processes and systems for internal wet areas:

waterproofing systems/materials:

cementitious

water-based

moisture-cured

sealants

sprayed material membranes

sheet:

butyl

ethylene propylene diene monomer rubber (EPDM)

polyvinyl chloride (PVC)

decoupling

ancillary materials:

adhesives

sealants

drainage flanges

penetration flashings

water stops

internal waterproofing materials, processes and techniques

types and uses of materials storage and environmentally friendly waste management

types and uses of plans, drawings and specifications for waterproofing internal wet areas

types and uses of tools and equipment for waterproofing internal wet areas

principles and considerations of water exclusion

processes for the calculation of material requirements for waterproofing internal wet areas

quality requirements for waterproofing internal wet areas

termination and flashing principles.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad