# Assessment Requirements for CPCCWP5001 Design below ground waterproofing

Release: 1

Assessment Requirements for CPCCWP5001 Design below ground waterproofing

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 9.0. Newly created unit. |
| --- | --- |

# Performance Evidence

A person demonstrating competency in this unit must satisfy the requirements of the elements, performance criteria and foundation skills of this unit, in addition to the specific performance and knowledge evidence described below.

Candidates must:

develop two (2) basement waterproofing designs.

In doing so, the candidate must:

develop one (1) design for a residential habitable below ground dry space

develop one (1) design for a multi-level below ground space with a lift pit in conditions of variable high-water table

design a combined system for each which must incorporate at least two of the following systems:

membrane barrier

integral waterproofing

cavity drains

provide evidence of compliance of design requirement with National Construction Code (NCC) performance requirements.

The evidence of compliance report must identify:

class of building

waterproofing system and its components

stakeholders consulted

nominate relevant NCC clauses the design conforms to

nominate any Australian Standards the design has referenced and must conform to

requirements for maintenance

provide a risk assessment report for the two Classes of Buildings used detailing the:

waterproofing solution suitability for the project conditions

management of potential defects in the waterproofing system

consequences of water entering the relevant space

feasibility of repair of the waterproofing system

safety in design procedures carried out.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

key principles of water movement, drainage, water tables and hydrostatic pressure/capillarity

methods for relieving hydrostatic pressure during construction

various types of piling and how they affect waterproofing design, including:

sheet

contiguous

secant

soldier

types of commercial basement construction and how they affect waterproofing design, including:

top down

bottom up

diaphragm walls

hydrostatic floors

considerations for waterproofing:

stakeholder brief

hydrology or geotechnical reports

site conditions

space to be waterproofed

water table and its effects on the waterproofing solution considered

water management of exposed rock basement walls and their internal drainage systems

salts

acidic and alkaline soils

underground gases

moisture vapour transmission

factors relating to soil permeability, grading, loading and consolidation

various types of concrete and masonry and their permeability to moisture

methods of waterproofing used during construction for various wall and floor designs

key design philosophies for below ground waterproofing, including:

effects of loads on a material, deformation, stress/strain, especially flexural, compressive and tensile stresses

effects of hydrostatic pressure on a waterproofed system and floatation

ventilation requirements in a building, including heating, ventilation and air conditioning (HVAC) requirements

below ground waterproofing systems available to the designer, including:

bonded and unbonded sheet membranes

hydrophilic seals and systems

liquid applied membranes

positive and negative systems

chemical grouts

injection systems

sealants

internal cavity drainage systems

membrane barriers - positive and negative

building elements and integration, including:

product properties and compatibility with building elements

installation method and practices

stages of installation and inspection benchmarks

waterproofing systems design and relationship with building design

permanent formwork

integral waterproofing systems

cavity drain systems

correct application rates of specified waterproofing systems

methods for calculating the quantities of product required to complete the waterproofing system specified

advantages and disadvantages of the different systems, including:

combinations of different systems and their limitations

advantages and disadvantages of different systems

maintenance and aftercare requirements

the form and feasibility of waterproofing systems for remedial work

general principles of cementitious modified waterproofing systems, including sand/cement mixes, hydration of cements, shrinkage, bonding, importance and construction of floor and wall junctions, fixings and decoration

general principals of integral protection waterproofing systems

general principles for cavity drains (internal and external), including fixings, lapping, sumps and pumps, floor and wall junction construction

a range of internal floor and wall finishing systems possible, including decorative finishes

maintenance of water management systems (land drains, sumps, pumps and internal drainage channels)

implications of dampness affecting structural steel in buildings

properties of waterproofing systems available:

substrate assessment and preparation

combining components to form a system

component compatibility in a combined system

component properties for site conditions

component installation practices

construction drawing/computer-aided drawing (CAD) development and specification writing:

types/styles of construction drawings to be used and how to integrate into the building design

technical specification writing skills

appropriate construction terms and definitions

technical report writing skills

document control:

project document flow, numbering and tracing for drawings and other written documentation

document layout, language and filing/storage

other documents:

compliance reports

request for information

site inspection report

meeting minutes - taking/control/distribution

final design report:

waterproofing system design analysis for compliance to design brief

design decisions made and key milestones achieved

finalised design approved

safe work installation practices

assessment of complex water and moisture ingress situations:

moisture and water remedial system relationships

combination of systems to form multiple barriers

stakeholders:

architect

structural engineer

civil engineer

HVAC engineer

builder

building owner

consumer

design team

construction team

certifier

building surveyor

regulators

environmental considerations and management

relevant regulations and legislation.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment of performance must be undertaken in the workplace or simulated workplace environment. A simulated workplace is one that fully replicates the resources, environment and any time and productivity pressures that exist in the actual workplace, and which meets industry standards for safety and environmental practices.

Candidates must have access to:

relevant task or design specifications

Australian Standards, relevant building legislation, industry codes, NCC and requirements of workplace policies and procedures as required by Commonwealth, state and territory regulators

relevant environmental requirements.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad