# Assessment Requirements for CPCCWP5003 Design waterproofing to internal wet area

Release: 1

Assessment Requirements for CPCCWP5003 Design waterproofing to internal wet area

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 9.0. Newly created unit. |
| --- | --- |

# Performance Evidence

A person demonstrating competency in this unit must satisfy the requirements of the elements, performance criteria and foundation skills of this unit, in addition to the specific performance and knowledge evidence described below.

Candidates must:

develop two (2) waterproofing designs for internal wet areas.

In doing so, the candidate must:

develop one (1) design for wet areas and change rooms, including open unenclosed group showers with multiple wastes and disabled access which must include:

a cross-section design of the complete system, including strata layers, provision of falls, water stop details, extent of membrane application and compatible finishes for intended use

develop one (1) design for a high risk and high usage wet area selected from one of the following:

douche room with handheld rose

steam room

birthing suite with a birthing bath and access steps

bathroom with type 2 open unenclosed shower, with window in shower area, free standing bath, wall mount vanity and falls to full floor areas

and must include:

a cross-section design of the complete system, including strata layers, provision of falls, water stop details, extent of membrane application, water inlet and outfalls and compatible finishes for intended use

confirm screen/barrier, water inlet positions, number and position of floor wastes, floor water stop positions and vertical water stop positions

provide evidence of compliance with principal design requirement, stakeholder needs, National Construction Code (NCC) performance requirements, Australian Standards, work health and safety (WHS), environmental requirements, manufacturer’s specifications, and drawings and specifications.

The evidence of compliance report must detail:

class of building

type of construction

category of wet area

category of shower

water inlet and outfalls

overflows effects to area affected by leaks adjoining and below the wet area

compatibility of materials specified, including finishes

provide a risk assessment report for the two (2) required designs detailing the:

waterproofing system solution for the intended service use and site condition

management of potential defects in the waterproofing system

consequences of water entering the relevant space

feasibility of repair of the waterproofing system.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

key principles of surface water movement and sub-surface water movement, drainage and capillarity

role for waterproofing, including:

retention within a wet area

exclusion from non-water-resistant materials

design for surface conditions

various types of construction and their permeability to water and moisture, including:

concrete

masonry

framed

methods of waterproofing to internal wet areas suited to type of construction

key design philosophies for internal wet area waterproofing, including:

deformation, stress/strain, especially flexural, compressive and tensile stresses

incorporation of acoustic systems

energy efficiency, including:

ventilation requirements in buildings

incorporation of heating elements such as under-floor heating

internal wet area waterproofing systems available and knowledge of their properties for system selection for the conditions, including:

bonded sheet membranes

liquid applied membranes

building elements and integration, including:

product properties and compatibility with building elements

installation method and practices

stages of installation and inspection benchmarks

waterproofing systems design and relationship with building design

risk assessment of internal wet areas, including:

assessment of service conditions

risk and management of interstitial condensation within building elements as part of design

consequence of defects affecting the use of the intended area

feasibility of repair of the waterproofing system

stakeholders:

architect

engineer

builder

building owner

consumer

design team

construction team

certifier

building surveyor

regulators

properties of waterproofing systems available:

substrate assessment and preparation

combining components to form a system

component compatibility in a combined system

component properties for site conditions

component installation practices

system analysis for effectiveness

assessment of complex water and moisture ingress situations:

moisture and water remedial system relationships

combination of systems to form multiple barriers

application rates of specified waterproofing systems and installation procedures

methods for calculating the quantities of product required to complete the waterproofing works specified

the advantages and disadvantages of the different systems, including:

combinations of different systems and their limitations

maintenance and aftercare requirements

the form and feasibility of remedial work

types of finishing systems, including decorative finishes

implications of dampness affecting timber in buildings, including:

identification of timbers that have been affected by water, decay fungi or wood consuming insects

providing suitable advice on the need for specialist assessment.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment of performance must be undertaken in the workplace or simulated workplace environment. A simulated workplace is one that fully replicates the resources, environment and any time and productivity pressures that exist in the actual workplace, and which meets industry standards for safety and environmental practices.

Candidates must have access to:

relevant task or design specifications

Australian Standards, relevant building legislation, industry codes, NCC and requirements of workplace policies and procedures as required by Commonwealth, state and territory regulators

relevant environmental requirements.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad