# Assessment Requirements for CPCCWP5004 Determine origin of water and moisture ingress into buildings

Release: 1

Assessment Requirements for CPCCWP5004 Determine origin of water and moisture ingress into buildings

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 9.0. Newly created unit. |
| --- | --- |

# Performance Evidence

A person demonstrating competency in this unit must satisfy the requirements of the elements, performance criteria and foundation skills of this unit, in addition to the specific performance and knowledge evidence described below.

Candidates must conduct three (3) water and moisture ingress investigations and develop diagnostic reports for three (3) different areas, chosen from list provided:

one investigation and report from an internal wet area which includes a shower

one investigation and report of water ingress through:

an external wall, adjacent to a waterproofed balcony or deck; OR

water ingress below a concrete roof terrace

one investigation and report of water ingress below a waterproofed, lightweight, flat roof structure or balcony

one investigation and report of water ingress to habitable space below ground.

In doing so, the diagnosis and evidence reports must be written in such a way as to inform a remedial waterproofing design and scope of works and must include:

all relevant background information

investigation methodology

record of findings

identification of the cause(s) of the water and moisture ingress

review of evidence against site factors and influences

assessment of waterproofing design and application against compliance with National Construction Code (NCC) performance requirements, Australian Standards, manufacturers’ recommendations, building design and use of area.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

application of scientific methodology

diagnostic procedures – non-destructive and destructive, including:

site investigation

inspecting protocols

analysing evidence

suitable technologies:

thermal

microwave

ground penetrating radar (GPR)

dye water testing

impedance and capacitance technologies

electronic field vector mapping

high and low voltage holiday testing

setting control parameters and testing methods, including:

selection of appropriate test method

calibration of testing equipment

effects on testing equipment by site conditions and testing procedures

contributing site factors and influence, including:

water ingress sources

surface water pathways

sub-surface water pathways

properties of water and moisture movement

gradient and falls

hydrostatic pressure

effects of finishes on surface tension

capillarity

size and effectiveness of outfalls

penetrations and intrusion points

condensation

ventilation

building elements and integration, including:

principles of water shedding

relationship between structural components

building movement

wind loadings

construction materials and their properties

NCC performance requirements relevant to areas tested, including:

waterproofing

damp proofing

condensation management

NCC evidence of suitability in relation to waterproofing system performance, including:

independent test reports

CodeMark Australia

other independent testing organisations

Australian Standards and design requirements relevant to areas inspected

waterproofing system manufacturers’ requirements, including:

data sheets and specifications

installation method statements

performance of system according to service conditions

suitability of materials as fit for purpose

compatibility of components within the system

stakeholders:

architect

engineer

builder

building owner

consumer

design team

construction team

certifier

building surveyor

regulators

report content and communication of findings, including:

types of diagnostic reports and structures

tables and diagrams

photographic evidence

interpreting test results

references to Australian Standards and designs

verbal communication strategies

different audiences

presenting evidence.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment of performance must be undertaken in the workplace or simulated workplace environment. A simulated workplace is one that fully replicates the resources, environment and any time and productivity pressures that exist in the actual workplace, and which meets industry standards for safety and environmental practices.

Candidates must have access to:

relevant tasks

Australian Standards, relevant building legislation, industry codes, NCC and requirements of workplace policies and procedures as required by Commonwealth, state and territory regulators

relevant environmental requirements.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad