# Assessment Requirements for CPCCWP5005 Prepare a scope of works for remedial waterproofing

Release: 1

Assessment Requirements for CPCCWP5005 Prepare a scope of works for remedial waterproofing

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 9.0. Newly created unit. |
| --- | --- |

# Performance Evidence

A person demonstrating competency in this unit must satisfy the requirements of the elements, performance criteria and foundation skills of this unit, in addition to the specific performance and knowledge evidence described below.

Prepare and document three (3) scopes of work and specifications for three (3) diagnostic reports provided, chosen from list provided:

one investigation and report from an internal wet area which includes a shower

one investigation and report of water ingress through:

an external wall, adjacent to a waterproofed balcony or deck; OR

water ingress below a concrete roof terrace

one investigation and report of water ingress below a waterproofed, lightweight, flat roof structure or balcony

one investigation and report of water ingress to habitable space below ground.

In doing so, the scopes of work and specifications must include at least two (2) alternative system specifications for one (1) of the scopes of work.

Scope of works must also include:

project aims

references to regulatory and Australian Standards requirements

quality assurance requirements

environmental considerations

extent of demolition

roles and responsibilities

sequence of construction stages

hours of work

safety

rubbish removal

availability of services

finishes

re-instatement works

protection works

latent conditions.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

contributing site factors, including:

water ingress sources

surface water pathways

sub-surface water pathways

properties of water and moisture movement

gradient or falls

hydrostatic pressure

surface tension of finishes

capillarity

size and effectiveness of outfalls

service and fixing penetrations

entry thresholds and openings

building elements and integration, including:

principles of water capture, direction and shedding

relationship between structural components

building movement

wind loadings

construction materials and their properties

inspection and testing protocols utilising factors and influences in accordance with risk levels, including:

curing times and stages

stage inspections or hold points

observation procedures

establishing control areas and reference points

non-destructive investigation procedures

destructive investigation procedures

utilising information from other sources, e.g., hydraulic and drainage reports, Bureau of Meteorology (BOM) observations

setting control parameters and testing methods, including:

selection of appropriate test method

calibration of testing equipment

effects on testing equipment by site conditions and testing procedures

National Construction Code (NCC) performance requirements relevant to areas tested, including:

waterproofing

weather proofing

damp proofing

condensation management

NCC evidence of suitability in relation to waterproofing system performance, including:

independent test reports

CodeMark Australia

other independent testing organisations

Australian Standards and design requirements relevant to areas inspected

waterproofing system manufacturers’ requirements, including:

data sheets and specifications

installation method statements

performance of system according to service conditions

suitability of materials as fit for purpose

compatibility of components within the system

properties of waterproofing systems available:

substrate assessment and preparation

combining components to form a system

component compatibility in a combined system

component properties for site conditions

component installation practices

system analysis for effectiveness

report content and communication of findings:

types of diagnostic reports and structures, including:

issue

performance standard

remedial action required

tables and diagrams

photographic evidence

thermal imaging analysis

interpreting measurement values

references to Australian Standards and designs

verbal communication strategies

different audiences

presenting evidence

stakeholders:

architect

engineer

builder

building owner

consumer

design team

construction team

certifier

building surveyor

regulators.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment of performance must be undertaken in the workplace or simulated workplace environment. A simulated workplace is one that fully replicates the resources, environment and any time and productivity pressures that exist in the actual workplace, and which meets industry standards for safety and environmental practices.

Candidates must have access to:

relevant tasks

Australian Standards, relevant building legislation, industry codes, NCC and requirements of workplace policies and procedures as required by Commonwealth, state and territory regulators

relevant environmental requirements.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad