# Assessment Requirements for CPCPCM2048 Cut and join sheet metal

Release: 1

Assessment Requirements for CPCPCM2048 Cut and join sheet metal

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPCM2048A Cut and join sheet metal. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

constructing two different sheet metal products, using two of the following joining techniques:

grooved seam

knock up joint

peened joint

simple lap

Pittsburgh lock

and two of the following fastening techniques:

spot weld

riveted

screwed

bolted

including the application of one approved sealing method.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

the characteristics of different sheet metal materials

electrolysis and the problems associated with using incompatible products

preparation of material for sealing

approved sheet metal sealants

how to access relevant information, including codes and standards

tools, materials and equipment used to cut and join sheet metal

work health and safety (WHS) requirements for cutting and joining sheet metal.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad