# CPCPCM2048 Cut and join sheet metal

Release: 1

CPCPCM2048 Cut and join sheet metal

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPCM2048A Cut and join sheet metal. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to cut and join sheet metal in the plumbing and services industry.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify cutting and joining requirements. | 1.1 | Access, read and determine sheet metal cutting and joining requirements from relevant job plans and specifications, codes, Australian standards, manufacturer’s specifications and jurisdictional requirements. |
|  |  | 1.2 | Identify and apply organisational work health and safety (WHS) and environmental requirements. |
| 2 | Prepare for work. | 2.1 | Determine material quantities. |
|  |  | 2.2 | Create a materials list and collect materials. |
|  |  | 2.3 | Select appropriate tools and equipment including personal protective equipment (PPE). |
| 3 | Cut and join sheet metal. | 3.1 | Mark out sheet metal in accordance with relevant job plan and specifications. |
|  |  | 3.2 | Check measurements and cut sheet metal. |
|  |  | 3.3 | Clean and prepare surfaces for joining. |
|  |  | 3.4 | Align, fasten and join sheet metal using an appropriate sealing method. |
| 4 | Clean up. | 4.1 | Clear the work area, and dispose of, reuse or recycle materials in accordance with state and territory legislation and workplace policies and procedures. |
|  |  | 4.2 | Clean tools and equipment, check for serviceability reporting any damage, store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPCM2048A Cut and join sheet metal.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad