# Assessment Requirements for CPCPCM2052 Weld mild steel using oxy-acetylene equipment

Release: 1

Assessment Requirements for CPCPCM2052 Weld mild steel using oxy-acetylene equipment

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPCM2052A Weld using oxy-acetylene equipment. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

using oxy-acetylene welding equipment to weld the following:

a flat butt weld up to 6 mm mild steel plate, 150 mm long

a vertical butt weld up to 6 mm mild steel plate, 150 mm long

a rotated butt weld around up to DN100 mild steel pipe located in a horizontal position and rotated during welding.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

the dangers associated with oxy-acetylene welding in the fabrication and installation of plumbing systems

the properties of materials and the effect of heat on properties of metal

the set-up and operating principles of oxy-acetylene welding equipment

types of gases used for welding mild steel

hot work permit

uses and characteristics of mild steel in the plumbing and services industry

how to access relevant information, including codes and standards

tools, materials and equipment used to weld mild steel using oxy-acetylene equipment

work health and safety (WHS) requirements for welding mild steel using oxy-acetylene equipment.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad