# CPCPCM2052 Weld mild steel using oxy-acetylene equipment

Release: 1

CPCPCM2052 Weld mild steel using oxy-acetylene equipment

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPCM2052A Weld using oxy-acetylene equipment. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to weld metals associated with the fabrication, installation and repair of plumbing components and systems using oxy-acetylene equipment.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify welding requirements. | 1.1 | Access, read and determine welding requirements from relevant job plans and specifications, codes, Australian standards, manufacturer’s specifications and jurisdictional requirements. |
|  |  | 1.2 | Identify and apply workplace policies and procedures, work health and safety (WHS) and environmental requirements. |
| 2 | Prepare for work. | 2.1 | Create a materials list and collect materials. |
|  |  | 2.2 | Select and check the serviceability of appropriate tools and equipment including personal protective equipment (PPE). |
| 3 | Prepare materials and welding equipment. | 3.1 | Clean and prepare material using appropriate tools and techniques according to workplace procedures. |
|  |  | 3.2 | Prepare work area to support efficient welding with oxy-acetylene equipment. |
|  |  | 3.3 | Assemble and set up welding equipment, including cylinders and regulators, according to workplace procedures. |
|  |  | 3.4 | Select welding tips, settings and consumables to meet job requirements and welding procedures according to workplace procedures. |
| 4 | Perform welding. | 4.1 | Weld materials to job requirements using safe welding practices. |
|  |  | 4.2 | Take appropriate action to report or remedy defects in materials or welding equipment, including adjustments to settings and welding technique. |
|  |  | 4.3 | Clean welds according to workplace requirements. |
|  |  | 4.4 | Access information and complete documentation according to workplace requirements. |
| 5 | Clean up. | 5.1 | Clear the work area, and dispose of, reuse or recycle materials in accordance with state and territory legislation and workplace policies and procedures. |
|  |  | 5.2 | Clean tools and equipment, check for serviceability and report any damage, and store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPCM2052A Weld using oxy-acetylene equipment.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad