# CPCPCM3022 Weld polymer pipes using fusion method

Release: 2

CPCPCM3022 Weld polymer pipes using fusion method

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Changes to Pre-requisite unit. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPCM3022A Weld polyethylene and polypropylene pipes using fusion method. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to fusion weld polymer pipes.

In some jurisdictions, this unit of competency may form part of accreditation, licencing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Prepare for work. | 1.1 | Access, read and determine welding requirements for polymer pipes and installation methods from relevant job plans and specifications, codes, Australian standards, manufacturer’s specifications and jurisdictional requirements. |
|  |  | 1.2 | Determine job priorities and sequence job tasks in consultation with others on the worksite. |
|  |  | 1.3 | Identify and apply workplace policies and procedures, work health and safety (WHS) and environmental requirements. |
|  |  | 1.4 | Select and check the serviceability of the appropriate tools, equipment and personal protective equipment (PPE). |
| 2 | Identify welding requirements. | 2.1 | Create a materials list and collect materials. |
|  |  | 2.2 | Check welding equipment for correct operation according to manufacturer instructions. |
| 3 | Weld and inspect pipe joints. | 3.1 | Prepare joints using tools and techniques according to manufacturer specifications and relevant standards. |
|  |  | 3.2 | Conduct test welds and verify according to job specifications. |
|  |  | 3.3 | Carry out fusion welds according to relevant job plans and specifications, codes, Australian standards, manufacturer’s specifications and jurisdictional requirements. |
|  |  | 3.4 | Visually inspect fusion welds for compliance with relevant job plans and specifications, codes, Australian standards, manufacturer’s specifications and jurisdictional requirements. |
| 4 | Clean up. | 4.1 | Clear the work area, and dispose of, reuse or recycle materials in accordance with state and territory legislation and workplace policies and procedures. |
|  |  | 4.2 | Clean tools and equipment, check for serviceability and report any damage, and store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPCM3022A Weld polyethylene and polypropylene pipes using fusion method.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad