# CPCPCM3023 Fabricate and install non-ferrous pressure piping

Release: 3

CPCPCM3023 Fabricate and install non-ferrous pressure piping

# Modification History

| Release 3 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.5. Amended Performance Criteria 3.2. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Changes to Element and Performance Criteria 2.2 and 3.5. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPCM3023A Fabricate and install non-ferrous pressure piping. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to fabricate and install non-ferrous pressure piping.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, and regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify installation requirements. | 1.1 | Access, read and determine requirements to fabricate and install non-ferrous pressure piping from relevant job plans and specifications, codes, Australian standards, manufacturer’s specifications and jurisdictional requirements. |
|  |  | 1.2 | Identify and apply workplace policies and procedures, work health and safety (WHS) and environmental requirements. |
| 2 | Prepare for work. | 2.1 | Create a materials list and collect materials. |
|  |  | 2.2 | Set up silver brazing equipment according to workplace and WHS procedures. |
|  |  | 2.3 | Select and check serviceability of appropriate tools and equipment including personal protective equipment (PPE). |
| 3 | Fabricate, install and test pipe system. | 3.1 | Set out pipelines and connection points according to drawings and specifications or job instructions. |
|  |  | 3.2 | Use silver brazing equipment according to workplace and WHS procedures. |
|  |  | 3.3 | Install pipework in accordance with relevant job plans and specifications, codes, Australian standards, manufacturer’s specifications and jurisdictional requirements. |
|  |  | 3.4 | Test installed pipework according to s relevant codes, Australian standards, manufacturer’s specifications and jurisdictional requirements. |
|  |  | 3.5 | Shut down and dismantle silver brazing equipment according to workplace and WHS procedures. |
| 4 | Clean up. | 4.1 | Clear the work area, and dispose of, reuse or recycle materials in accordance with state and territory legislation and workplace policies and procedures. |
|  |  | 4.2 | Clean tools and equipment, check for serviceability reporting any damage, store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPCM3023A Fabricate and install non-ferrous pressure piping.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad