# CPCPCM3024 Prepare simple drawings

Release: 2

CPCPCM3024 Prepare simple drawings

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Knowledge Evidence formatted for clarity. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPCM4014A Prepare simple sketches and drawings. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to produce onsite drawings for plumbing services work.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Create simple sketches and drawings. | 1.1 | Identify key features required through consultation with associated persons and reference to plans. |
|  |  | 1.2 | Identify and apply workplace, work health and safety (WHS) and environmental requirements. |
|  |  | 1.3 | Select suitable views to create simple sketches and drawings. |
|  |  | 1.4 | Use standard drawing conventions, incorporating relevant codes and standards to create simple sketches and drawings. |
| 2 | Notate and process drawings. | 2.1 | Record essential information on the drawing with symbols and abbreviations according to standard drawing conventions. |
|  |  | 2.2 | Store drawings according to organisational administration and quality procedures. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPCM4014A Prepare simple sketches and drawings.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad