# Assessment Requirements for CPCPCM3025 Install trench support

Release: 2

Assessment Requirements for CPCPCM3025 Install trench support

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Typographical errors corrected in Element 1.3 and 3.1. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. New unit. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

installing and removing as a minimum, two trench support systems using an approved shoring method and equipment to a minimum depth of 1.5 metres.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

types of trench support systems including:

aluminium shoring shields

close timber shoring

drag boxes

fixed and/or adjustable trench boxes

hydraulic vertical shoring

lite box aluminium panels

powerbrace

slide rails

raking shoring

hazards associated with excavation including:

soil types and the likelihood of sudden changes in soil

presence of ground water and water entering cracks in soil adjacent to the excavation

effects on ground material by exposure to the air after excavation

vibration due to machinery, plant, motor vehicles and machinery

excavation depth and shape

presence or proximity of other underground services

presence of excavation, backfill material or equipment placed near an excavation

excavation within public property requirements

excavation close to footings and buildings

work health and safety (WHS) requirements associated with the installation of trench support systems

how to access relevant information, including job plans and specifications, codes, Australian standards, manufacturer’s specifications and jurisdictional requirements

tools, materials and equipment used for the installing trench support.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad