# CPCPCM4015 Access and interpret regulatory requirements for the plumbing and services industry

Release: 1

CPCPCM4015 Access and interpret regulatory requirements for the plumbing and services industry

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. New unit. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to identify and apply the plumbing regulatory requirements to design and planned work activities for the plumbing and services industry, including the National Construction Code (NCC).

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Access and identify the National Construction Code (NCC). | 1.1 | Identify the hierarchical relationship of legislation, Acts, regulations, codes and standards in the plumbing and services industry. |
|  |  | 1.2 | Determine building classification and type in accordance with the National Construction Code (NCC). |
|  |  | 1.3 | Identify plumbing and services covered by the National Construction Code (NCC). |
| 2 | Interpret the National Construction Code (NCC). | 2.1 | Identify and interpret the requirements of jurisdictional variations and additions in the (NCC). |
|  |  | 2.2 | Identify the difference between Performance Solutions and Deemed to Satisfy (DTS) installations. |
|  |  | 2.3 | Identify jurisdictional documentation requirements for Performance Solutions and Deemed to Satisfy (DTS) for plumbing installations. |
|  |  | 2.4 | Determine relevant certification requirements for use of materials and products. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

No equivalent unit.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad