# CPCPCM5010 Design complex sanitary plumbing and drainage systems

Release: 2

CPCPCM5010 Design complex sanitary plumbing and drainage systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Changes to Elements and Performance Criteria 3.1 and 3.5. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPCM5010A Design complex sanitary plumbing and drainage systems. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to undertake the hydraulic engineering design of complex sanitary plumbing and drainage installation and to prepare specifications for a range of wide-span and high-rise building applications up to 25 metres, including basement for residential, commercial and industrial buildings.

The unit requires application of technical skills and knowledge to prepare plans, specifications and operating and maintenance manuals.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Evaluate design parameters. | 1.1 | Establish scope of work for complex sanitary plumbing and drainage systems for wide-span and high-rise building projects. |
|  |  | 1.2 | Determine design requirements from relevant Australian Standards, codes, plans, specifications and client brief. |
|  |  | 1.3 | Interpret statutory and regulatory requirements for the design of complex sanitary plumbing and drainage systems. |
|  |  | 1.4 | Analyse and apply Australian Standards and codes for the design of complex sanitary plumbing and drainage systems. |
|  |  | 1.5 | Interpret manufacturer requirements and trade and technical manuals. |
|  |  | 1.6 | Conduct additional research, including a desktop study to outline design parameters. |
|  |  | 1.7 | Conduct a cost–benefit analysis comparing a range of pipe materials and system designs. |
| 2 | Plan and detail system components. | 2.1 | Plan layout of pipework systems, type and location of fittings and valves. |
|  |  | 2.2 | Assess existing utilities services capacity and sizes. |
|  |  | 2.3 | Calculate pipe sizes, pipe grades and trapping and ventilation requirements for a range of applications. |
|  |  | 2.4 | Plan pipe support for a range of applications. |
|  |  | 2.5 | Size and detail pump well, pump and pump control requirements. |
|  |  | 2.6 | Specify approved materials, jointing methods and installation requirements for complex sanitary plumbing and drainage systems. |
|  |  | 2.7 | Plan and detail acoustic performance of the sanitary plumbing and drainage system within the system design. |
| 3 | Design and size systems. | 3.1 | Design complex sanitary plumbing and drainage systems for a range of wide-span and high-rise building applications. |
|  |  | 3.2 | Design rising main systems. |
|  |  | 3.3 | Design and size a fully vented or fully vented modified system. |
|  |  | 3.4 | Design and size a reduced velocity aerator stack system. |
|  |  | 3.5 | Design and size complex sanitary plumbing and drainage systems using computer-aided design and drafting packages. |
| 4 | Prepare documentation. | 4.1 | Prepare client brief of the preferred design. |
|  |  | 4.2 | Prepare plans and specifications for a range of complex sanitary plumbing and drainage systems. |
|  |  | 4.3 | Prepare testing and commissioning schedule. |
|  |  | 4.4 | Produce operation and maintenance manual. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPCM5010A Design complex sanitary plumbing and drainage systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPCM5010 Design complex sanitary plumbing and drainage systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Changes to Elements and Performance Criteria 3.1 and 3.5. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPCM5010A Design complex sanitary plumbing and drainage systems. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

designing, sizing and documenting the layout details of complex sanitary systems for a 25-metre high-rise mixed development building inclusive of a basement, using two approved sanitary plumbing systems, including:

fixtures on each level

specification and plans which include:

inspection openings and drainage cleaning provisions

overflow relief provisions

proprietary air admittance and relief systems

proprietary velocity reduction fittings

sewerage pumping stations (wet wells)

piping systems

venting systems.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

common terminology and definitions used in design of complex sanitary plumbing and drainage systems for all classes of building

National Construction Code (NCC)

other relevant Australian standards, codes or standard operating procedures (SOPs)

principles of technology in the design of hydraulic systems

procedures for maintaining air balance within the systems

workplace safety requirements, including relevant statutory regulations, codes and standards

scope of work:

interpretation of plans and specifications

sizing and documenting layout of complex sanitary plumbing and drainage systems for applications, including residential, commercial and industrial

design requirements:

architectural plans

building specifications

fire rating of penetrations

owner requirements

pipework identification

soil quality

specialist waste applications

unstable or water-charged ground

cost–benefit analysis considerations

Australian Standards, codes, statutory and regulatory requirements:

NCC

relevant Australian Standards and codes, including AS/NZS 3500 Plumbing and drainage set

AS 2200 Design charts for water supply and sewerage

local government and health department requirements

state/territory government requirements

preparation of documentation for authorities’ approval

requirements from manufacturers:

material specifications

pump tables

sizing tables

recommended specific fixings for pipework

technical and trade manuals

information gathered through desktop study:

architectural and building plans

developer plans

manufacturers’ data

applications

brochures

forms

policies

other reports as available

performance requirements, which must include flow, velocity, pressure and discharge requirements established using relevant Australian standards, codes and local authority plans

layout of pipework systems based on principles of economy, serviceability, durability and fitness for use:

drainage

elevated pipework

low pressure pump

vacuum

vented stack systems

types of fittings and valves

access chamber details:

benching requirements

flow

gradient requirements

inlet and outlet connections

ladder access

lids

cost–benefit analysis considerations

gullies covering details such as size, location, bedding and concrete support:

boundary traps

disconnector gullies (DG)

floor waste (FW)

overflow relief gullies (ORG)

types of calculations for complex sanitary plumbing and drainage systems:

determination of flow and fixture loadings

gradient calculations

interpretation of design charts and tables

pipe sizing calculations

reduced level calculations

self-cleaning velocities

design elements of anchor blocks:

flow forces to be resisted

keying and anchorage points

sizes

soil characteristics

types of pipe support:

anchors

bedding

bracket spacing

concrete support

corrosion protection

cover

hanging brackets

manufacturer-recommended specific fixings

material requirements

provision for expansion

saddles

wall and ceiling brackets.

pump well, pump and pump control requirements:

access covers

automatic controls

capacity

chains

corrosion-resistant materials

detailing

emergency storage

high- and low-level water controls and alarms

impeller sizing

inlet and outlet design requirements

installation and mounting requirements

ladder access

macerator requirements

odour control

pump selection

pump sizing

pump well sizing

space requirements

step irons

valve requirements

ventilation

warning system

sanitary and plumbing drainage system materials:

cast iron (Fe)

concrete

copper (CU)

vitrified clay pipe (VCP)

high density polyethylene (HDPE)

unplasticised polyvinyl chloride (uPVC)

other approved material

fittings and fixtures

measures to prevent the spread of fire

sound attenuation requirements.

jointing methods:

brazing and threading

electrofusion welding

mechanical joints

rubber ring

solvent cement welding

installation requirements:

bedding

clipping

concrete support

fire rating of penetrations

installation details

jointing requirements

level of workmanship

elements of rising main systems:

approved pressure pipe and fittings

calculated rise and pump delivery requirements

pipe velocities

pump sizing to meet calculated flow conditions

ways to apply sustainability principles and concepts:

selecting appropriate material to ensure minimal environmental impact

efficient use of material

efficient energy usage/capital outlay comparison

effect on the environment due to overflow or leakage

water efficiency

consideration of the Green Building Council of Australia rating scheme

local environment consideration regarding overflow, disposal and reuse

types of plans (computer-generated or hand-drawn):

axonometrics

cross-sections

details

elevations

isometrics

schematics

sections

specification information:

bedding

commissioning

concrete support and detailing specialised components

jointing

access chambers (manholes)

manufacturer requirements

materials

pumps

work health and safety (WHS)

support

testing

workmanship

testing:

air pressure

drainage inspection

hydrostatic

performance

quality assurance (QA) audit

commissioning inclusions:

charging traps

checking leaks

checking for foreign material

checking for system defects

checking that system functions as per design

checking trap water seal retention

cleaning grates

system certification

operation and maintenance manual inclusions:

construction drawings

results of commissioning test

certification documentation

maintenance schedules

manufacturer brochures and technical information

manufacturer warranties.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad