# CPCPCM5011 Design complex cold water systems

Release: 2

CPCPCM5011 Design complex cold water systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Change to Elements and Performance Criteria 3.6. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPCM5011A Design complex cold water systems. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to design complex cold water distribution systems in commercial and high-rise mixed development building to a minimum of 29 floors inclusive of a basement. The unit requires application of technical skills and knowledge to design and size systems and prepare operational and compliance documentation.

The role may involve interaction with architects, builders, suppliers, clients and relevant planning authorities and requires a sound understanding of applicable legislation, standards and codes.

This unit requirements are typically carried out by a consultant or design engineer.

Application of the unit is relevant to multi-storey residential, commercial and industrial buildings with or without connection to reticulated water supply.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Evaluate design parameters. | 1.1 | Identify and establish scope of work from preliminary information and in consultation with associated persons. |
|  |  | 1.2 | Determine design parameters from relevant Australian Standards, codes, plans, specifications, statutory and regulatory requirements and client brief. |
|  |  | 1.3 | Apply sustainability principles and concepts as part of the design process. |
|  |  | 1.4 | Establish performance requirements, considering safety of system users or building occupants. |
|  |  | 1.5 | Determine available pressure and flow rates at site location. |
|  |  | 1.6 | Conduct research, including a desktop study to outline design parameters. |
|  |  | 1.7 | Interpret manufacturer requirements and trade and technical manuals. |
|  |  | 1.8 | Conduct a cost-benefit analysis to compare a range of materials and system designs. |
| 2 | Plan and detail system components. | 2.1 | Plan layout of pipework systems, including the type and location of fittings and valves and acoustic performance of the system. |
|  |  | 2.2 | Detail type, location and requirements for backflow prevention devices. |
|  |  | 2.3 | Specify flush valve system types and operation. |
|  |  | 2.4 | Calculate pipe sizes, velocities, flows and residual pressures for a range of applications. |
|  |  | 2.5 | Detail or design cold water system components. |
|  |  | 2.6 | Size and detail pump, pump controls and pump room requirements. |
|  |  | 2.7 | Specify approved materials, jointing methods and installation requirements. |
| 3 | Design and size systems. | 3.1 | Design systems for a range of wide-span and high-rise building applications. |
|  |  | 3.2 | Design flush valve distribution systems for sanitary ablutions. |
|  |  | 3.3 | Design a range of delivery systems. |
|  |  | 3.4 | Design and size complex cold water distribution systems using computer software packages. |
|  |  | 3.5 | Design water storage and break tanks. |
|  |  | 3.6 | Design cold water pressure systems and incorporate into building supply system. |
|  |  | 3.7 | Design backflow penetration systems associated with cold water systems. |
|  |  | 3.8 | Calculate pipe sizes, velocities and pressures. |
|  |  | 3.9 | Calculate system pressures, pressure losses and pressure reduction measures. |
| 4 | Prepare documentation. | 4.1 | Prepare client brief for the preferred design. |
|  |  | 4.2 | Prepare plans and specifications for designing complex cold water systems. |
|  |  | 4.3 | Prepare testing and commissioning schedule. |
|  |  | 4.4 | Produce operation and maintenance manual for maintaining cold water systems. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPCM5011A Design complex cold water systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPCM5011 Design complex cold water systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Change to Elements and Performance Criteria 3.6. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPCM5011A Design complex cold water systems. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

designing, sizing and documenting the layout details of two methods of providing a cold water supply for a high-rise mixed development building to a minimum of 29 floors inclusive of a basement, including:

fixtures on each level

a non-drinking supply system

a flush valve system

planning system detail components, including:

authorities’ connection

backflow prevention requirements

fixtures and fitments

flush valves

meter assemblies

storage tanks

piping systems

pumps

applying sustainability principles and concepts throughout to achieve a star rating under the Green Building Council of Australia rating scheme

evaluating health risks associated with drinking and non-drinking water supplies and actioning as required within the system design.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

AS/NZS 3500 Plumbing and drainage set

AS 2200 Design charts for water supply and sewerage

common terminology and definitions used in design of cold water reticulation systems

National Construction Code (NCC)

local and state government requirements

preparation of documentation for authorities’ approval

nature of materials used and the effects of performance under various conditions

other relevant Australian Standards, codes or standard operating procedures

principles of technology used in design of cold water reticulation and hydrant and hose reel systems for all classes of building

requirements of state regulatory authorities and manufacturer specifications, including hazards identified in relation to devices and systems used

water quality requirements

work health and safety (WHS) requirements, including relevant statutory regulations, codes and standards

methods to apply sustainability principles and concepts:

selecting appropriate material to ensure minimal environmental impact

efficient use of material

efficient energy usage/capital outlay comparison

effect on the environment due to overflow or leakage

water efficiency

consideration of the Green Building Council of Australia rating scheme

information on design requirements:

architectural plans

building specifications

effect of water quality on pipework, plant and equipment

owner requirements

pipework and valve identification

soil quality

specialist water use applications

unstable or water-charged ground

specifications for:

bedding

flow requirements

jointing

manufacturer requirements

materials

residual pressures

WHS

specialised components

support

testing

valve selection

water treatment

workmanship

locating information on systems and components from a variety of sources such as:

manufacturer’s websites

trade meetings and exhibitions

brochures

trade outlets

other design projects

cost-benefit analysis considerations for the selection of materials and system:

enabling cost effective choices without compromising the integrity of the project

expected design life

associated labour costs

material costs

safety factors

speed of installation

suitability of materials

range of system choices

manufacturer’s requirements:

flow and pressure requirements for fixtures and appliances

material specifications

pump tables

sizing tables

recommended specific fixings for pipework

technical and trade manuals

types of plans produced using computer software and drawing equipment:

axonometrics

cross-sections

details

elevations

isometrics

schematics

sections

flow, velocity, pressure and discharge requirements, established using relevant Australian Standards, codes, and state, territory and local government authorities’ plans

layout of pipework systems:

principles of economy, serviceability, durability and fitness for use

dual feed

gravity feed

main pressure

pumped system

ring main

types of fittings:

bends

elbows

tees

unions

types of valves:

backflow prevention

excess pressure

isolating

pressure limiting

pressure reduction

strainers

backflow prevention devices:

registered break tank (RBT)

registered air gap (RAG)

double-check valve assembly (DCV)

dual-check valve with intermediate vent (DuCV)

reduced pressure detector assembly (RPDA)

reduced pressure zone device (RPZD)

other approved devices

types of flush valve systems:

backflow prevention requirements

gravity

mains pressure

pipe sizing requirements

storage requirements

cold water system meter assemblies:

direct and indirect

electronic

inferential

magnetic

thrust blocks and their design elements:

design details for tees, elbows and valves

keying and anchorage points

sizes

soil characteristics

velocity and flow forces to be resisted

range of pipe supports:

anchors

bedding

bracket spacing

corrosion protection

cover

hanging brackets

manufacturer-recommended specific fixings

material requirements

provision for expansion

saddles

wall and ceiling brackets

considerations for water storage systems:

air gap

automatic controls

drain down provision

inlet valve design and sizing

outlet sizing

overflow requirements

provision to maintain service while cleaning

provision to maintain service while servicing

safe tray requirements

tank access

tank maintenance

tank sizes

water treatment:

filtration

reverse osmosis (RO)

softening

pump, pump controls and pump room requirements:

acoustic performance

automatic changeover

automatic controls

drain down provision

dual pump provision

impeller sizing

inlet and outlet design requirements

installation and mounting requirements

pressure gauges

pump selection

pump sizing

space requirements

valve requirements

variable speed control

materials:

acrilonitrile butadiene styrene (ABS)

composite pipework

copper (Cu)

cross-linked polyethylene (PE-X)

polypropylene (PP)

polybutylene (PB)

ductile iron cement lined (DICL)

other approved materials

fittings and fixtures

protective coatings

jointing methods:

brazing

compression

electrofusion welding

flaring

mechanical joints

rubber ring joints

screwing

soldering

solvent cement welding

other approved jointing methods

installation requirements:

bedding

fire rating of penetrations

clipping

installation details

jointing requirements

level of workmanship

manufacturer-recommended specific fixings

pipe support

delivery systems:

constant flow variable speed pumps

gravity feed

hydropneumatic

mains pressure system

testing:

air pressure

defect inspection

hydrostatic

mains pressure

performance

quality assurance (QA) audit

commissioning schedule inclusions:

disinfection

flow test

leak check

pressure test

system certification

system defects

system functions as per design

system purge

valve operation

operation and maintenance manual inclusions:

as installed drawings

certification documentation

maintenance schedules

manufacturer brochures and technical information

results of commissioning test

valve function.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad