# CPCPCM5012 Design complex stormwater and roof drainage systems

Release: 2

CPCPCM5012 Design complex stormwater and roof drainage systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Changes to Application and Elements and Performance Criteria 4.4. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPCM5012A Design complex stormwater and roof drainage systems. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to design complex stormwater and roof drainage systems for commercial, industrial and residential properties.

The role may involve interaction with architects, builders, suppliers, clients and relevant planning authorities and requires a sound understanding of applicable legislation, standards and codes.

This unit requirements are typically carried out by experienced people such as hydraulic design consultants or persons in a supervisory capacity in relation to plumbing services.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify design parameters. | 1.1 | Determine design scope from plans, specifications and client brief. |
|  |  | 1.2 | Identify applicable regulatory and legislative requirements for the design of complex stormwater and roof drainage systems. |
|  |  | 1.3 | Apply sustainability principles and concepts as part of the design process. |
|  |  | 1.4 | Account for the safety of system users or building occupants. |
|  |  | 1.5 | Determine and estimate rainfall intensity and volume using measurements of different catchment areas. |
|  |  | 1.6 | Analyse overland flood path affecting the property and buildings. |
|  |  | 1.7 | Research and evaluate other information likely to impact the stormwater and roof drainage system design. |
| 2 | Plan system components. | 2.1 | Plan and evaluate strategies for harvesting and re-using rainwater. |
|  |  | 2.2 | Plan and evaluate methods of collection and disposal of roof surface run-off water. |
|  |  | 2.3 | Plan and evaluate stormwater detention and retention systems and first-flush stormwater systems. |
|  |  | 2.4 | Determine and specify the most suitable methods of preventing backflow of sub-soil and stormwater into buildings. |
|  |  | 2.5 | Plan and evaluate treatment and disposal options for stormwater discharge. |
|  |  | 2.6 | Plan layout of system components according to design parameters and site limitations and coordinate with other services. |
| 3 | Design and size systems. | 3.1 | Apply regulatory requirements, Australian Standards and codes to all aspects of the stormwater and roof drainage system design. |
|  |  | 3.2 | Calculate and specify storage volume, pump capacity and discharge pipe size required for stormwater pumping systems as necessary. |
|  |  | 3.3 | Design stormwater systems requiring pumping. |
|  |  | 3.4 | Design, select, size and detail system components using appropriate calculations, software applications and approved materials. |
|  |  | 3.5 | Specify correct installation, laying and jointing procedures for approved materials and components. |
| 4 | Prepare documentation. | 4.1 | Prepare client brief of the preferred design. |
|  |  | 4.2 | Prepare plans and specifications. |
|  |  | 4.3 | Prepare testing and commissioning schedule. |
|  |  | 4.4 | Produce operation and maintenance manual, including information on how to properly and safely maintain the system. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPCM5012A Design complex stormwater and roof drainage systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPCM5012 Design complex stormwater and roof drainage systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Changes to Application and Elements and Performance Criteria 4.4. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPCM5012A Design complex stormwater and roof drainage systems. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

designing, sizing and documenting the layout details of a complex stormwater and roof drainage system for a site incorporating a high-rise mixed development building within a wide-span multiple building project (such as a school), including:

specification

access chambers

grade of drains

holding pits

collection sumps

detention, retention and harvesting systems

disposal methods for stormwater catchments to council or utility provider’s drainage network or disposal on-site

other system components

using appropriate design software to produce detailed drawings and layout plans, including long sections and cross-sections of the designed system

applying sustainability principles and concepts throughout to achieve a star rating under the Green Building Council of Australia rating scheme

evaluating health risks associated with stormwater and roof drainage systems and action as required within the system design.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

relevant codes, Australian standards and specifications:

Australian rainfall and run-off (ARR) guidelines

AS/NZS 3500 Plumbing and drainage set

manufacturer specifications

National Construction Code (NCC)

building codes

work health and safety (WHS) and environmental requirements

plumbing regulations

terminology and definitions used in hydraulic design

computer-aided design (CAD) software

installation methods used in hydraulic systems

hazards associated with devices and systems used in the hydraulic sector

environmental requirements:

clean-up protection

stormwater protection

waste management

water quality management

quality assurance requirements:

Environmental Protection Agency (EPA)

internal company quality assurance policy and risk management strategies

International Standards Organisation (ISO)

site safety plan

workplace operations and procedures

safe work procedures relating to planning, sizing and documenting layout of pipework and fixtures

local government requirements:

Integrated Planning Act (IPA)

standard drawings and details

town planning requirements

treatment requirements such as:

screens

silt traps

solid removal systems

plans and documentation relevant to the design:

site plans

cross-sections

details

elevations

sections

civil drawings

contour levels

existing services

reduced levels

manufacturer requirements and specifications

catchment area analysis

stormwater design

surveys

system components:

access chambers (manholes)

channels

culverts

downpipes

fire rating of penetrations

grated pits

gullies

guttering

inspection chambers

inspection openings

kerbs

piping

pits

treatment options for stormwater discharge:

grass and rock swales

lagoons

momentum diffusers

ponds

screens

silt traps

traps

other removal systems as determined

disposal options for stormwater discharge:

connection to stormwater mains

creeks

harbour

kerb and street channels

lakes

on-site harvesting and reuse

rainwater collection systems, including tanks and dams

rivers

streams

determining rainfall intensities by:

average rainfall intervals

roof, surface and subsurface calculations

site location

time and concentration

catchment areas:

land surface catchment areas, including a variety of surface conditions such as grassed and paved areas

roof catchment areas

stormwater drainage systems:

access chambers (manholes)

collection sumps

detention and retention

grade of drains

harvesting

holding pits

pump discharge

approved piping materials:

concrete

earthenware or vitrified clay pipe (VCP)

fibre cement (FRC)

polyvinyl chloride (PVC)

other approved materials

approved fittings:

bends

grates

gullies

junctions

non-return valves

stormwater systems requiring pumping:

holding tanks

overflow provisions

pump and controls

rising main

methods of applying sustainability principles and concepts:

selecting appropriate material to ensure minimal environmental impact

harvesting and reuse

efficient use of material

efficient energy usage/capital outlay comparison

effect on the environment due to overflow or leakage

consideration of the Green Building Council of Australia rating scheme

specification and user manuals which include information on:

commissioning

bedding

support

concrete support and detailing specialised components

jointing

access chambers (manholes)

manufacturer requirements

materials

pumps

WHS

testing

workmanship.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad