# Assessment Requirements for CPCPCM5013 Design complex (non-solar) heated water systems

Release: 2

Assessment Requirements for CPCPCM5013 Design complex (non-solar) heated water systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Changes to Elements and Performance Criteria 1.8. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPCM5013A Design complex (non-solar) heated water systems. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

designing, sizing and planning the layout details for complex (non-solar) heated water systems for a high-rise mixed development building to a minimum of 29 floors inclusive of a basement, including fixtures on each level and using two methods of providing heated water:

one system to be gas only

one system incorporating an alternative energy efficient heat source, for example, a commercial heat pump with boosted system

preparing documentation, including:

heat source

flue arrangements

flow and return systems

insulation requirements

manifolding systems

provision for expansion

temperature control device

applying sustainability principles and concepts throughout to achieve a star rating under the Green Building Council of Australia rating scheme

evaluating health risks associated with heated water supplies and actioning as required within the system design.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

common terminology and definitions used in design of complex (non-solar) heated water systems

application of National Construction Code (NCC), relevant Australian Standards, codes and manufacturer specifications, including:

Acts and regulations

AS/NZS 3500 Plumbing and drainage set

local government and health department requirements

installation methods and hazards identified in relation to devices and systems used according to relevant Australian Standards, codes and standard operating procedures

nature of materials used and effects of performance under various conditions

work health and safety (WHS) requirements, including relevant statutory regulations, codes and standards

cost–benefit analysis considerations for the selection of materials and systems:

enabling cost effective choices without compromising the integrity of the project

expected design life

design style

associated labour costs

material costs

safety factors

speed of installation

suitability of materials

range of system choices

requirements from manufacturer:

material specifications

heater maintenance and servicing

provision for heater pressure and temperature discharge

pump tables

sizing tables

recommended specific fixings for pipework

technical and trade manuals

sources of information to support the design process:

architectural and building plans

developer plans

building applications

brochures

forms

policies

other reports as available

layout of pipework systems:

dead leg

pressurised

thermo convection

circulating

types of fittings:

bends

tees

unions

types of valves:

backflow prevention

cold water expansion

isolating

non-return, including high pressure non-return

pressure limiting

pressure relief

strainers

temperature control

types of thermostatic mixing and tempering valves:

bimetallic types

wax capsule

circulating heated water supply system details:

circulating pump specification

dead leg minimisation

flow and return pipework

circulation

pipe insulation

thermal convection circulating

heat trace systems:

installation requirements

running costs

serviceability

calculations for sizing water heaters:

coefficient of expansion

daily flows

energy consumption

heat losses

mixed temperatures

peak demand

recovery times

size and quantity of heated water required

standby versus continual flow

tariffs

water expansion

methods for the control of expansion:

U-bends

coiled loop

lyre bend

offset bends

proprietary expansion control devices

pipe supports:

anchors

bracket spacing

corrosion protection

hanging brackets

material requirements

provision for expansion

saddles

wall and ceiling brackets

manifolding heated water units:

balanced flow conditions and valves

pressure relief requirements

water heater inclusions:

continuous flow

heat transfer

pressure storage systems

open vented storage systems

sources of generated heat:

electricity

gas

heat pump

solar

solid fuel

waste heat

safe trays and overflows:

design

discharge

materials

sizes

materials:

pipe materials as specified:

copper

composite

polymer

other approved materials

flue materials including stainless steel

ancillary material:

air relief valve

heaters

fittings and fixtures

insulation

pumps

valves

jointing methods:

brazing

compression

electrofusion welding

flaring

mechanical joints

threading

insulation materials:

fibre glass

foam

metal sheathing

rock wool

other approved materials

installation requirements:

fire rating of penetrations

level of workmanship

manufacturer-recommended specific fixings

pipe support

provision for expansion

serviceability and access

circulating systems:

approved pressure pipes and fittings

balancing valves

circulating pump and controls

isolating valves

thermo cycle

temperature gauge

pump sizing to meet calculated flow conditions

methods of applying sustainability principles and concepts:

selecting appropriate material to ensure minimal environmental impact

efficient use of material

efficient energy usage/capital outlay comparison

selection of energy efficient water heater

water efficiency

consideration of the Green Building Council of Australia rating scheme

types of plans produced using computer software and drawing equipment:

axonometrics

cross-sections

details

elevations

isometrics

schematics

sections

specification:

support

jointing

flow requirements

manufacturer requirements

materials

residual pressures and temperature

WHS

specialised components

testing

valve selection

water treatment

workmanship

testing for:

air pressure

defect inspection

flue operation

hydrostatic

mains pressure

performance

quality assurance (QA) audit

commissioning schedule information:

balancing the system

checking and flushing the system

disinfection

flow test

flue operation

leak check

pressure test

system certification

system defects

system functions as per design

system purge

temperature setting

valve operation

operation and maintenance manual information:

as installed drawings

results of commissioning test

certification documentation

heater details, settings and operations

maintenance schedules

manufacturer brochures and technical information

valve function.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad